## analysis
rdate | ph | ec | tds | alk | tss | ca_caco3 | cl | toc | cod | tvc | po4_tot | po4_orto | po4_org | operator_name
2025-08-04 07:00 | 7.03 | 358.1 | 179 | 1.6 |  | 118 | [7 empty] | Аюпова Е В
2025-08-04 08:35 | [13 empty] | Галимуллина Г. Н.
2025-08-04 10:00 | [9 empty] | 40 |  |  |  | Галимуллина Г. Н.
2025-08-05 07:00 | [10 empty] | 0.13 | 0.051908 | 0.1 | Ефимова Г.Ф.
2025-08-06 07:00 |  |  |  |  | 0 |  | 33.14 | [6 empty] | Андриянова Ю. И.
2025-08-07 07:00 | 7.08 | 359.2 | 179.6 | 1.6 |  | 109 | [7 empty] | Валиахметова Я И
2025-08-11 07:00 | 7.64 | 324.1 | 162 | 1.3 |  | 109 | [7 empty] | Валиахметова Я И
2025-08-11 10:00 | [9 empty] | 275 |  |  |  | Галимуллина Г. Н.
2025-08-12 07:00 | [10 empty] | 0.17 | 0.10329 | 0.1 | Аюпова Е В
2025-08-13 07:00 |  |  |  |  | 5.5 | [8 empty] | Смирнова Е.Н.
2025-08-14 07:00 | 7.13 | 332.4 | 165.6 | 1.6 |  | 104 | [7 empty] | Андриянова Ю. И.
2025-08-18 07:00 | 7.05 | 340.6 | 170.3 | 1.5 |  | 113 | [7 empty] | Андриянова Ю. И.
2025-08-18 10:00 | [9 empty] | 54 |  |  |  | Галимуллина Г. Н.
2025-08-19 07:00 | [10 empty] | 0.071 | 0.10329 | 0 | Валиахметова Я И
2025-08-20 07:00 |  |  |  |  | 4 | [8 empty] | Аюпова Е В
2025-08-21 07:00 | 7.16 | 337.3 | 168.8 | 1.5 |  | 117 | [7 empty] | Смирнова Е.Н.
2025-08-25 07:00 | 7.19 | 392.3 | 196.1 | 1.7 |  | 123 | [7 empty] | Смирнова Е.Н.
2025-08-25 10:00 | [9 empty] | 54 |  |  |  | Галимуллина Г. Н.
2025-08-26 07:00 | [10 empty] | 0.17 | 0.0064558 | 0.2 | Андриянова Ю. И.
2025-08-27 07:00 |  |  |  |  | 0 | [8 empty] | Валиахметова Я И
2025-08-28 07:00 | 7.25 | 350.6 | 175.4 | 1.7 |  | 123 | [7 empty] | Аюпова Е В
2025-09-01 07:00 | 7.24 | 356.6 | 178.3 | 1.7 |  | 122 | [7 empty] | Аюпова Е В
2025-09-01 10:00 | [9 empty] | 63 |  |  |  | Галимуллина Г. Н.
2025-09-02 07:00 | [10 empty] | 0.071 | 0.0064558 | 0.1 | Смирнова Е.Н.
2025-09-03 07:00 |  |  |  |  | 0 |  | 30.91 | [6 empty] | Андриянова Ю. И.
2025-09-04 07:00 | 7.38 | 369.8 | 184.9 | 1.7 |  | 106 | [7 empty] | Валиахметова Я И
2025-09-08 07:00 | 7.53 | 367.4 | 183.7 | 1.8 |  | 127 | [7 empty] | Валиахметова Я И
2025-09-08 10:00 | [9 empty] | 39 |  |  |  | Галимуллина Г. Н.
2025-09-09 07:00 | [10 empty] | 0.1 | 0.0064558 | 0.1 | Аюпова Е В
2025-09-10 07:00 |  |  |  |  | 5 | [8 empty] | Смирнова Е.Н.
2025-09-11 07:00 | 7.57 | 362.4 | 181.5 | 1.8 |  | 129 | [7 empty] | Андриянова Ю. И.
2025-09-15 07:00 | 7.58 | 350.7 | 175.3 | 1.9 |  | 128 | [7 empty] | Андриянова Ю. И.
2025-09-15 10:00 | [9 empty] | 26 |  |  |  | Галимуллина Г. Н.
2025-09-16 07:00 | [10 empty] | 0.1 | 0.071014 | 0 | Валиахметова Я И
2025-09-17 07:00 |  |  |  |  | 7.3 | [8 empty] | Аюпова Е В
2025-09-18 07:00 | 7.9 | 363 | 181.5 | 1.7 |  | 116 | [7 empty] | Смирнова Е.Н.
2025-09-22 07:00 | 7.89 | 362.5 | 181.2 | 1.8 |  | 131 | [7 empty] | Смирнова Е.Н.
2025-09-22 10:00 | [9 empty] | 15 |  |  |  | Галимуллина Г. Н.
2025-09-23 07:00 | [10 empty] | 0.1 | 0.071014 | 0 | Андриянова Ю. И.
2025-09-24 07:00 |  |  |  |  | 3 | [8 empty] | Ефимова Г.Ф.
2025-09-25 07:00 | 7.91 | 434.3 | 217.2 | 1.8 |  | 132 | [7 empty] | Аюпова Е В
2025-09-29 07:00 | 7.68 | 355.1 | 177.6 | 2.1 |  | 135 | [7 empty] | Аюпова Е В
2025-09-29 10:00 | [9 empty] | 20 |  |  |  | Галимуллина Г. Н.
2025-09-30 07:00 | [10 empty] | 0.14 | 0.071014 | 0.1 | Смирнова Е.Н.
2025-10-01 07:00 |  |  |  |  | 0 |  | 35 | [6 empty] | Андриянова Ю. И.
2025-10-02 07:00 | 7.96 | 363.2 | 181.6 | 2 |  | 126 | [7 empty] | Ефимова Г.Ф.
2025-10-06 07:00 | 7.85 | 364.2 | 182.1 | 1.9 |  | 129 | [7 empty] | Ефимова Г.Ф.
2025-10-06 08:16 | [13 empty] | Смирнова Е.Н.
2025-10-06 10:00 | [9 empty] | 6 |  |  |  | Галимуллина Г. Н.
2025-10-07 07:00 | [10 empty] | 0.17 | 0.10329 | 0.1 | Аюпова Е В
2025-10-08 07:00 |  |  |  |  | 3.7 | [8 empty] | Смирнова Е.Н.
2025-10-09 07:00 | 8.07 | 333.2 | 166.6 | 2 |  | 130 | [7 empty] | Андриянова Ю. И.
2025-10-13 07:00 | 7.89 | 327.5 | 163.8 | 2.1 |  | 128 | [7 empty] | Андриянова Ю. И.
2025-10-13 10:00 | [9 empty] | 6 |  |  |  | Галимуллина Г. Н.
2025-10-14 07:00 | [10 empty] | 0.1 | 0.10329 | 0 | Валиахметова Я И
2025-10-15 07:00 |  |  |  |  | 0 | [8 empty] | Аюпова Е В
2025-10-16 07:00 | 7.82 | 328.9 | 164.6 | 1.9 |  | 127 | [7 empty] | Смирнова Е.Н.
2025-10-20 07:00 | 7.93 | 330.3 | 165.9 | 1.9 |  | 123 | [7 empty] | Смирнова Е.Н.
2025-10-20 10:00 | [9 empty] | 8 |  |  |  | Галимуллина Г. Н.
2025-10-21 07:00 | [10 empty] | 0.17 | 0.13557 | 0 | Андриянова Ю. И.
2025-10-22 07:00 |  |  |  |  | 3.2 | [8 empty] | Валиахметова Я И
2025-10-23 07:00 | 7.89 | 317.4 | 158.7 | 2.2 |  | 135 | [7 empty] | Ефимова Г.Ф.
2025-10-27 07:00 | 7.85 | 341.1 | 170.5 | 2.2 |  | 141 | [7 empty] | Ефимова Г.Ф.
2025-10-27 10:00 | [9 empty] | 4 |  |  |  | Галимуллина Г. Н.
2025-10-28 07:00 | [10 empty] | 0.17 | 0.10329 | 0.1 | Смирнова Е.Н.
2025-10-29 07:00 |  |  |  |  | 0 | [8 empty] | Андриянова Ю. И.
2025-10-30 07:00 | 7.97 | 389.1 | 194.5 | 2 |  | 150 | [7 empty] | Валиахметова Я И
2025-11-03 07:00 | 8.12 | 321.8 | 159.9 | 2.1 |  | 152 | [7 empty] | Валиахметова Я И
2025-11-03 10:00 | [9 empty] | 88 |  |  |  | Галимуллина Г. Н.
2025-11-04 07:00 | [10 empty] | 0.039 | 0.071014 | 0 | Ефимова Г.Ф.
2025-11-05 07:00 |  |  |  |  | 0 |  | 40.66 | [6 empty] | Смирнова Е.Н.
2025-11-06 07:00 | 6.82 | 372.8 | 186.4 | 2.3 |  | 155 | [7 empty] | Андриянова Ю. И.
2025-11-10 07:00 | 7.07 | 401.7 | 200.9 | 2.3 |  | 165 | [7 empty] | Андриянова Ю. И.
2025-11-10 10:00 | [9 empty] | 63 |  |  |  | Галимуллина Г. Н.
2025-11-11 07:00 | [10 empty] | 0.2 | 0.13557 | 0.1 | Валиахметова Я И
2025-11-12 07:00 |  |  |  |  | 0 | [8 empty] | Аюпова Е В
2025-11-13 07:00 | 7.08 | 432 | 213.1 | 2.3 |  | 158 | [7 empty] | Смирнова Е.Н.
2025-11-17 07:00 | 7.67 | 395 | 193.4 | 2.4 |  | 171 | [7 empty] | Латыпова В. Н.
2025-11-17 10:00 | [9 empty] | 8 |  |  |  | Галимуллина Г. Н.
2025-11-18 07:00 | [10 empty] | 0.2 | 0.13557 | 0.1 | Андриянова Ю. И.
2025-11-19 07:00 |  |  |  |  | 0 | [8 empty] | Валиахметова Я И
2025-11-20 07:00 | 7.97 | 418.2 | 209.1 | 2.2 |  | 174 | [7 empty] | Аюпова Е В
2025-11-24 07:00 | 7.96 | 423.5 | 211.7 | 2.6 |  | 186 | [7 empty] | Аюпова Е В
2025-11-24 10:00 | [9 empty] | 11 |  |  |  | Галимуллина Г. Н.
2025-11-25 07:00 | [10 empty] | 0.17 | 0.13557 | 0 | Андриянова Ю. И.
2025-11-26 07:00 |  |  |  |  | 0 | [8 empty] | Андриянова Ю. И.
2025-11-27 07:00 | 7.99 | 534.9 | 267.4 | 2.7 |  | 193 | [7 empty] | Валиахметова Я И
2025-12-01 07:00 | 7.83 | 521.3 | 260.7 | 2.5 |  | 185 | [7 empty] | Валиахметова Я И
2025-12-01 08:16 | [13 empty] | Галимуллина Г. Н.
2025-12-01 10:00 | [9 empty] | 7 |  |  |  | Галимуллина Г. Н.
2025-12-02 07:00 | [10 empty] | 0.17 | 0.13557 | 0 | Аюпова Е В
2025-12-03 07:00 |  |  |  |  | 0 |  | 54.67 | [6 empty] | Смирнова Е.Н.
2025-12-04 07:00 | 7.9 | 418.1 | 209.1 | 2.4 |  | 178 | [7 empty] | Ефимова Г.Ф.
2025-12-08 07:00 | 7.56 | 442.1 | 262.4 | 2.5 |  | 176 | [7 empty] | Ефимова Г.Ф.
2025-12-08 10:00 | [9 empty] | 5 |  |  |  | Галимуллина Г. Н.
2025-12-09 07:00 | [10 empty] | 0.2 | 0.13557 | 0.1 | Валиахметова Я И
2025-12-10 07:00 |  |  |  |  | 4.5 | [8 empty] | Аюпова Е В
2025-12-11 07:00 | 8 | 495.2 | 264 | 2.6 |  | 188 | [7 empty] | Смирнова Е.Н.
2025-12-15 07:00 | 8 | 563.2 | 281.5 | 2.5 |  | 185 | [7 empty] | Смирнова Е.Н.
2025-12-15 10:00 | [9 empty] | 2 |  |  |  | Галимуллина Г. Н.
2025-12-16 07:00 | [10 empty] | 0.17 | 0.13557 | 0 | Ефимова Г.Ф.
2025-12-17 07:00 |  |  |  |  | 8.5 | [8 empty] | Валиахметова Я И
2025-12-18 07:00 | 7.82 | 558.2 | 279.1 | 2.6 |  | 171 | [7 empty] | Аюпова Е В
2025-12-22 07:00 | 8.02 | 552.8 | 276.4 | 2.6 |  | 173 | [7 empty] | Аюпова Е В
2025-12-22 10:00 | [9 empty] | 3 |  |  |  | Галимуллина Г. Н.
2025-12-23 07:00 | [10 empty] | 0.2 | 0.13557 | 0.1 | Смирнова Е.Н.
2025-12-24 07:00 |  |  |  |  | 0 | [8 empty] | Андриянова Ю. И.
2025-12-25 07:00 | 8.05 | 506.4 | 253.2 | 2.5 |  | 188 | [7 empty] | Валиахметова Я И
2025-12-29 07:00 | 8.02 | 488 | 244.1 | 2.6 |  | 166 | [7 empty] | Валиахметова Я И
2025-12-29 10:00 | [9 empty] | 9 |  |  |  | Галимуллина Г. Н.
2025-12-30 07:00 | [10 empty] | 0.23 | 0.10329 | 0.1 | Аюпова Е В
2025-12-31 07:00 |  |  |  |  | 0 | [8 empty] | Смирнова Е.Н.
2026-01-01 07:00 | 7.62 | 353.3 | 176.7 | 2.5 |  | 167 | [7 empty] | Андриянова Ю. И.
2026-01-05 07:00 | 7.99 | 395.2 | 197.6 | 2.4 |  | 167 | [7 empty] | Андриянова Ю. И.
2026-01-05 10:00 | [9 empty] | 3 |  |  |  | Галимуллина Г. Н.
2026-01-06 07:00 | [10 empty] | 0.17 | 0.10329 | 0.1 | Валиахметова Я И
2026-01-07 07:00 |  |  |  |  | 0 |  | 46.58 | [6 empty] | Аюпова Е В
2026-01-08 07:00 | 7.97 | 456.3 | 228.7 | 2.4 |  | 165 | [7 empty] | Смирнова Е.Н.
2026-01-12 07:00 | 7.78 | 457.4 | 230 | 2.3 |  | 172 | [7 empty] | Смирнова Е.Н.
2026-01-12 10:00 | [9 empty] | 7 |  |  |  | Галимуллина Г. Н.
2026-01-13 07:00 | [10 empty] | 0.2 | 0.13557 | 0.1 | Андриянова Ю. И.
2026-01-14 07:00 |  |  |  |  | 0 | [8 empty] | Валиахметова Я И
2026-01-15 07:00 | 8.05 | 411.8 | 209.5 | 2.6 |  | 178 | [7 empty] | Аюпова Е В
2026-01-19 07:00 | 7.95 | 524.4 | 262.2 | 2.7 |  | 206 | [7 empty] | Аюпова Е В
2026-01-19 10:00 | [9 empty] | 3 |  |  |  | Галимуллина Г. Н.
2026-01-20 07:00 | [10 empty] | 0.17 | 0.10329 | 0.1 | Смирнова Е.Н.
2026-01-21 07:00 |  |  |  |  | 0 | [8 empty] | Андриянова Ю. И.
2026-01-22 07:00 | 7.81 | 413.5 | 207 | 2.9 |  | 210 | [7 empty] | Валиахметова Я И
2026-01-26 07:00 | 7.71 | 387.1 | 202.2 | 2.8 |  | 178 | [7 empty] | Валиахметова Я И
2026-01-26 08:21 | [13 empty] | Галимуллина Г. Н.
2026-01-26 10:00 | [9 empty] | 5 |  |  |  | Галимуллина Г. Н.
2026-01-27 07:00 | [10 empty] | 0.23 | 0.13557 | 0.1 | Аюпова Е В
2026-01-28 07:00 |  |  |  |  | 0 | [8 empty] | Смирнова Е.Н.
2026-01-29 07:00 | 7.8 | 405.3 | 202.7 | 2.9 |  | 220 | [7 empty] | Андриянова Ю. И.
2026-02-02 07:00 | 7.88 | 445 | 222.5 | 2.9 |  | 242 | [7 empty] | Андриянова Ю. И.
2026-02-02 09:08 | [13 empty] | Галимуллина Г. Н.
2026-02-02 10:00 | [9 empty] | 2 |  |  |  | Галимуллина Г. Н.
2026-02-03 07:00 | [10 empty] | 0.17 | 0.10329 | 0.1 | Валиахметова Я И
2026-02-04 07:00 |  |  |  |  | 3 |  | 55.53 | [6 empty] | Аюпова Е В
2026-02-05 07:00 | 7.75 | 564.8 | 282.1 | 3 |  | 240 | [7 empty] | Смирнова Е.Н.
2026-02-09 07:00 | 7.3 | 546.2 | 273 | 2.9 |  | 210 | [7 empty] | Смирнова Е.Н.
2026-02-09 10:00 | [9 empty] | 6 |  |  |  | Галимуллина Г. Н.
2026-02-10 07:00 | [10 empty] | 0.2 | 0.13557 | 0.1 | Андриянова Ю. И.
2026-02-11 07:00 |  |  |  |  | 0 | [8 empty] | Валиахметова Я И
2026-02-12 07:00 | 7.26 | 441.8 | 220.9 | 2.8 |  | 243 | [7 empty] | Аюпова Е В
2026-02-16 07:00 | 7.57 | 461.4 | 231.1 | 2.9 |  | 183 | [7 empty] | Аюпова Е В
2026-02-16 10:00 | [9 empty] | 6 |  |  |  | Галимуллина Г. Н.
2026-02-17 07:00 | [10 empty] | 0.17 | 0.10329 | 0.1 | Смирнова Е.Н.
2026-02-18 07:00 |  |  |  |  | 0 | [8 empty] | Андриянова Ю. И.
2026-02-19 07:00 | 7.65 | 443.1 | 220.5 | 3 |  | 237 | [7 empty] | Валиахметова Я И
2026-02-23 07:00 | 7.86 | 405.8 | 205 | 2.9 |  | 240 | [7 empty] | Валиахметова Я И
2026-02-23 10:00 | [9 empty] | 2 |  |  |  | Галимуллина Г. Н.
2026-02-24 07:00 | [10 empty] | 0.14 | 0.071014 | 0.1 | Аюпова Е В
2026-02-25 07:00 |  |  |  |  | 0 | [8 empty] | Смирнова Е.Н.
2026-02-26 07:00 | 7.84 | 443 | 221.5 | 2.9 |  | 235 | [7 empty] | Андриянова Ю. И.
2026-03-02 07:00 | 7.5 | 454.4 | 227.2 | 2.8 |  | 215 | [7 empty] | Андриянова Ю. И.
2026-03-02 10:00 | [9 empty] | 1 |  |  |  | Галимуллина Г. Н.
2026-03-03 07:00 | [10 empty] | 0.14 | 0.10329 | 0 | Валиахметова Я И
2026-03-04 07:00 |  |  |  |  | 0 |  | 59 | [6 empty] | Ефимова Г.Ф.
2026-03-05 07:00 | 7.43 | 442.3 | 239.3 | 2.8 |  | 242 | [7 empty] | Смирнова Е.Н.
2026-03-09 07:00 | 7.85 | 439.9 | 216.6 | 2.7 |  | 216 | [7 empty] | Смирнова Е.Н.
2026-03-09 10:00 | [9 empty] | 3 |  |  |  | Галимуллина Г. Н.
2026-03-10 07:00 | [10 empty] | 0.17 | 0.13557 | 0 | Андриянова Ю. И.
2026-03-11 07:00 |  |  |  |  | 0 | [8 empty] | Валиахметова Я И
2026-03-12 07:00 | 7.29 | 532 | 268.6 | 2.9 |  | 216 | [7 empty] | Аюпова Е В
2026-03-16 07:00 | 7.88 | 468.9 | 234.4 | 2.7 |  | 213 | [7 empty] | Аюпова Е В
2026-03-16 10:00 | [9 empty] | 2 |  |  |  | Галимуллина Г. Н.
2026-03-17 07:00 | [10 empty] | 0.17 | 0.13557 | 0 | Смирнова Е.Н.
2026-03-18 07:00 |  |  |  |  | 0 | [8 empty] | Андриянова Ю. И.
2026-03-19 07:00 | 7.89 | 556.5 | 278.3 | 2.7 |  | 217 | [7 empty] | Валиахметова Я И
2026-03-23 07:00 | 7.7 | 605.5 | 302.8 | 2.7 |  | 208 | [7 empty] | Валиахметова Я И
2026-03-23 10:00 | [9 empty] | 3 |  |  |  | Галимуллина Г. Н.
2026-03-24 07:00 | [10 empty] | 0.14 | 0.10329 | 0 | Аюпова Е В
2026-03-25 07:00 |  |  |  |  | 0 | [8 empty] | Аюпова Е В
2026-03-26 07:00 | 7.97 | 490.2 | 245.1 | 2.7 |  | 210 | [7 empty] | Андриянова Ю. И.
2026-03-30 07:00 | 7.26 | 488.4 | 244.2 | 2.9 |  | 233 | [7 empty] | Андриянова Ю. И.
2026-03-30 10:00 | [9 empty] | 5 |  |  |  | Галимуллина Г. Н.
2026-03-31 07:00 | [10 empty] | 0.17 | 0.13557 | 0 | Валиахметова Я И
2026-04-01 07:00 |  |  |  |  | 3.2 |  | 70.2 | [6 empty] | Ефимова Г.Ф.
2026-04-02 07:00 | 7.43 | 589.4 | 294.7 | 3.1 |  | 243 | [7 empty] | Смирнова Е.Н.
2026-04-06 07:00 | 7 | 478.8 | 239.4 | 2.8 |  | 213 | [7 empty] | Смирнова Е.Н.
2026-04-06 08:11 | [13 empty] | Галимуллина Г. Н.
2026-04-06 10:00 | [9 empty] | 2 |  |  |  | Галимуллина Г. Н.
2026-04-07 07:00 | [10 empty] | 0.1 | 0.071014 | 0 | Андриянова Ю. И.
2026-04-08 07:00 |  |  |  |  | 0 | [8 empty] | Валиахметова Я И
2026-04-09 07:00 | 7.81 | 466.2 | 233.1 | 3.1 |  | 207 | [7 empty] | Ефимова Г.Ф.
2026-04-13 07:00 | 7.31 | 502.9 | 251.5 | 2.6 |  | 182 | [7 empty] | Ефимова Г.Ф.
2026-04-13 10:00 | [9 empty] | 9 |  |  |  | Галимуллина Г. Н.
2026-04-14 07:00 | [10 empty] | 0.14 | 0.071014 | 0.1 | Смирнова Е.Н.
2026-04-15 07:00 |  |  |  |  | 0 | [8 empty] | Андриянова Ю. И.
2026-04-16 07:00 | 7.54 | 459.2 | 229.6 | 2.4 |  | 180 | [7 empty] | Валиахметова Я И
2026-04-20 07:00 | 7.73 | 479.3 | 239.6 | 2.3 |  | 180 | [7 empty] | Валиахметова Я И
2026-04-20 10:00 | [9 empty] | 12 |  |  |  | Галимуллина Г. Н.
2026-04-21 07:00 | [10 empty] | 0.1 | 0.038735 | 0.1 | Аюпова Е В
2026-04-22 07:00 |  |  |  |  | 0 | [8 empty] | Смирнова Е.Н.
2026-04-23 07:00 | 7.76 | 487 | 238.5 | 2.3 |  | 170 | [7 empty] | Андриянова Ю. И.
2026-04-27 07:00 | 7.88 | 418.5 | 209.3 | 2.1 |  | 163 | [7 empty] | Андриянова Ю. И.
2026-04-27 10:00 | [9 empty] | 4 |  |  |  | Галимуллина Г. Н.
2026-04-28 07:00 | [10 empty] | 0.17 | 0.10329 | 0.1 | Валиахметова Я И
2026-04-29 07:00 |  |  |  |  | 0 | [8 empty] | Аюпова Е В
2026-04-30 07:00 | 7.36 | 431.1 | 215.6 | 2.2 |  | 166 | [7 empty] | Смирнова Е.Н.
2026-05-04 07:00 | 7.28 | 460.1 | 230.1 | 2.2 |  | 164 | [7 empty] | Ефимова Г.Ф.
2026-05-04 10:00 | [9 empty] | 9 |  |  |  | Галимуллина Г. Н.
2026-05-05 07:00 | [10 empty] | 0.1 | 0.071014 | 0 | Андриянова Ю. И.
2026-05-06 07:00 |  |  |  |  | 0 |  | 46.19 | [6 empty] | Валиахметова Я И
2026-05-07 07:00 | 7.46 | 482.8 | 241.4 | 2.1 |  | 158 | [7 empty] | Аюпова Е В
2026-05-11 07:00 | 7.37 | 464.9 | 232.5 | 2.3 |  | 155 | [7 empty] | Аюпова Е В
2026-05-11 10:00 | [9 empty] | 9 |  |  |  | Галимуллина Г. Н.
2026-05-12 07:00 | [10 empty] | 0.14 | 0.071014 | 0.1 | Ефимова Г.Ф.
2026-05-13 07:00 |  |  |  |  | 0 | [8 empty] | Андриянова Ю. И.
2026-05-14 07:00 | 7.75 | 395.8 | 200.6 | 2.1 |  | 150 | [7 empty] | Валиахметова Я И
2026-05-18 07:00 | 7.46 | 402.3 | 212 | 2.1 |  | 140 | [7 empty] | Валиахметова Я И
2026-05-18 10:00 | [9 empty] | 3 |  |  |  | Галимуллина Г. Н.
2026-05-19 07:00 | [10 empty] | 0.14 | 0.10329 | 0 | Аюпова Е В
2026-05-20 07:00 |  |  |  |  | 0 | [8 empty] | Ефимова Г.Ф.
2026-05-21 07:00 | 7.7 | 369.7 | 184.9 | 1.9 |  | 150 | [7 empty] | Андриянова Ю. И.
2026-05-25 07:00 | 7.53 | 342.5 | 171.2 | 1.6 |  | 116 | [7 empty] | Андриянова Ю. И.
2026-05-25 10:00 | [9 empty] | 4 |  |  |  | Галимуллина Г. Н.
2026-05-26 07:00 | [10 empty] | 0.1 | 0.071014 | 0 | Ефимова Г.Ф.
2026-05-27 07:00 |  |  |  |  | 5.5 | [8 empty] | Аюпова Е В
2026-05-28 07:00 | 7.42 | 301.9 | 150.9 | 1.3 |  | 106 | [7 empty] | Смирнова Е.Н.
2026-06-01 07:00 | 7.34 | 292.3 | 146.1 | 1.3 |  | 99 | [7 empty] | Смирнова Е.Н.
2026-06-01 08:21 | [13 empty] | Галимуллина Г. Н.
2026-06-01 10:00 | [9 empty] | 6 |  |  |  | Галимуллина Г. Н.
2026-06-02 07:00 | [10 empty] | 0.14 | 0.10329 | 0 | Андриянова Ю. И.
2026-06-03 07:00 |  |  |  |  | 9 |  | 24.99 | [6 empty] | Ефимова Г.Ф.
2026-06-04 07:00 | 6.95 | 274.4 | 137.2 | 1.2 |  | 97 | [7 empty] | Аюпова Е В
2026-06-08 07:00 | 7.11 | 297.6 | 148.3 | 1.2 |  | 102 | [7 empty] | Аюпова Е В
2026-06-08 10:00 | [9 empty] | 18 |  |  |  | Галимуллина Г. Н.
2026-06-09 07:00 | [10 empty] | 0.1 | 0.10329 | 0 | Смирнова Е.Н.
2026-06-10 07:00 |  |  |  |  | 0 | [8 empty] | Андриянова Ю. И.
2026-06-11 07:00 | 7.03 | 315.7 | 157.8 | 1.2 |  | 102 | [7 empty] | Валиахметова Я И
2026-06-15 07:00 | 7.61 | 544.8 | 272.4 | 2.5 |  | 123 | [7 empty] | Валиахметова Я И
2026-06-15 10:00 | [9 empty] | 2500 |  |  |  | Галимуллина Г. Н.
2026-06-16 07:00 | [10 empty] | 0.2 | 0.0064558 | 0.2 | Ефимова Г.Ф.
2026-06-17 07:00 |  |  |  |  | 4.6 | [8 empty] | Смирнова Е.Н.
2026-06-18 07:00 | 7.47 | 408.3 | 204.1 | 2 |  | 108 | [7 empty] | Андриянова Ю. И.
2026-06-22 07:00 | 7.49 | 431.4 | 215.4 | 2.2 |  | 115 | [7 empty] | Ефимова Г.Ф.
2026-06-22 10:00 | [9 empty] | 2025 |  |  |  | Галимуллина Г. Н.
2026-06-23 07:00 | [10 empty] | 0.46 | 0.13557 | 0.3 | Валиахметова Я И
2026-06-24 07:00 |  |  |  |  | 7 | [8 empty] | Аюпова Е В
2026-06-25 07:00 | 7.18 | 479.7 | 239.8 | 3.2 |  | 101 | [7 empty] | Смирнова Е.Н.
2026-06-29 07:00 | 7.42 | 415.8 | 208.5 | 2.2 |  | 87 | [7 empty] | Смирнова Е.Н.
2026-06-29 10:00 | [9 empty] | 3100 |  |  |  | Галимуллина Г. Н.
2026-06-30 07:00 | [10 empty] | 0.2 | 0.038735 | 0.2 | Ефимова Г.Ф.
2026-07-01 07:00 |  |  |  |  | 5.5 |  | 32.78 | [6 empty] | Валиахметова Я И
2026-07-02 07:00 | 7.37 | 338.3 | 169.2 | 1.6 |  | 100 | [7 empty] | Аюпова Е В
2026-07-06 07:00 | 7.09 | 363.8 | 181.9 | 1.6 |  | 109 | [7 empty] | Аюпова Е В
2026-07-06 08:46 | [13 empty] | Галимуллина Г. Н.
2026-07-06 10:00 | [9 empty] | 148 |  |  |  | Галимуллина Г. Н.
2026-07-07 07:00 | [10 empty] | 0.14 | 0.10329 | 0 | Смирнова Е.Н.
2026-07-08 07:00 |  |  |  |  | 0 | [8 empty] | Ефимова Г.Ф.
2026-07-09 07:00 | 7.32 | 316.6 | 158.3 | 1.5 |  | 100 | [7 empty] | Валиахметова Я И
2026-07-13 07:00 | 7.27 | 333.5 | 166.7 | 0.9 |  | 86 | [7 empty] | Валиахметова Я И
2026-07-13 10:00 | [9 empty] | 45 |  |  |  | Галимуллина Г. Н.
2026-07-14 07:00 | [10 empty] | 0.14 | 0.13557 | 0 | Аюпова Е В
2026-07-15 07:00 |  |  |  |  | 3 | [8 empty] | Смирнова Е.Н.
2026-07-16 07:00 | 7.62 | 337.7 | 168.9 | 1.6 |  | 106 | [7 empty] | Андриянова Ю. И.
2026-07-20 07:00 | 7.6 | 382.4 | 191.4 | 1.8 |  | 116 | [7 empty] | Андриянова Ю. И.
2026-07-20 10:00 | [9 empty] | 52 |  |  |  | Галимуллина Г. Н.
2026-07-21 07:00 | [10 empty] | 0.17 | 0.10329 | 0.1 | Валиахметова Я И
2026-07-22 07:00 |  |  |  |  | 15 | [8 empty] | Аюпова Е В
2026-07-23 07:00 | 7.27 | 346.3 | 172.8 | 1.8 |  | 103 | [7 empty] | Смирнова Е.Н.
2026-07-27 07:00 | 7.3 | 376 | 188 | 1.8 |  | 108 | [7 empty] | Смирнова Е.Н.
2026-07-27 10:00 | [9 empty] | 58 |  |  |  | Галимуллина Г. Н.
2026-07-28 07:00 | [10 empty] | 0.14 | 0.10329 | 0 | Андриянова Ю. И.
2026-07-29 07:00 |  |  |  |  | 8 | [8 empty] | Валиахметова Я И
2026-07-30 07:00 | 7.12 | 351.7 | 175.9 | 1.8 |  | 108 | [7 empty] | Аюпова Е В
2026-08-03 07:00 | 7.29 | 376.4 | 188.2 | 2 |  | 117 | [7 empty] | Аюпова Е В
2026-08-03 08:21 | [13 empty] | Галимуллина Г. Н.
2026-08-03 10:00 | [9 empty] | 33 |  |  |  | Галимуллина Г. Н.
2026-08-04 07:00 | [10 empty] | 0.17 | 0.13557 | 0 | Смирнова Е.Н.
2026-08-05 07:00 |  |  |  |  | 5 |  | 25.99 | [6 empty] | Андриянова Ю. И.
2026-08-06 07:00 | 7.51 | 381 | 190.2 | 2 |  | 122 | [7 empty] | Валиахметова Я И
2026-08-10 07:00 | 7.57 | 346.3 | 171.9 | 1.9 |  | 113 | [7 empty] | Валиахметова Я И
2026-08-10 10:00 | [9 empty] | 63 |  |  |  | Галимуллина Г. Н.
2026-08-11 07:00 | [10 empty] | 0.2 | 0.13557 | 0.1 | Аюпова Е В
2026-08-12 07:00 |  |  |  |  | 0 | [8 empty] | Смирнова Е.Н.
2026-08-13 07:00 | 7.85 | 353.9 | 176.9 | 2 |  | 116 | [7 empty] | Андриянова Ю. И.
2026-08-17 07:00 | 7.38 | 311.3 | 155.5 | 1.9 |  | 107 | [7 empty] | Андриянова Ю. И.
2026-08-17 10:00 | [9 empty] | 35 |  |  |  | Галимуллина Г. Н.
Note on A2: DCS-LAB$: 3006109
Note on B2: DCS-LAB$: ЦЛК-Р-03. (04.08.2025 12:13:47)
Note on E2: DCS-LAB$: ОСТ 34-37-523.7-88. (04.08.2025 12:13:47)
Note on G2: DCS-LAB$: РД 34.37.523.8-88. (04.08.2025 12:13:47)
Note on A11: DCS-LAB$: 3015456
Note on F11: DCS-LAB$: ПНД Ф 14.1:2.110-97. (13.08.2025 14:20:54)
Note on A101: DCS-LAB$: 3147168
Note on K101: DCS-LAB$: МУК 4.2.3963-23. (16.12.2025 12:05:53)
Note on A102: DCS-LAB$: 3148296
Note on L102: DCS-LAB$: ФР.1.31.2016.23616. (16.12.2025 13:59:21)
Note on M102: DCS-LAB$: ФР.1.31.2016.23616. (16.12.2025 13:59:21)
Note on N102: DCS-LAB$: ФР.1.31.2016.23616. (16.12.2025 13:59:21)
Note on A103: DCS-LAB$: 3149593
Note on F103: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (17.12.2025 15:21:41)
Note on A104: DCS-LAB$: 3150910
Note on B104: DCS-LAB$: ЦЛК-Р-03. (18.12.2025 13:30:29)
Note on E104: DCS-LAB$: ОСТ 34-37-523.7-88. (18.12.2025 13:30:29)
Note on G104: DCS-LAB$: РД 34.37.523.8-88. (18.12.2025 13:30:29)
Note on A105: DCS-LAB$: 3154990
Note on B105: DCS-LAB$: ЦЛК-Р-03. (22.12.2025 13:14:53)
Note on E105: DCS-LAB$: ОСТ 34-37-523.7-88. (22.12.2025 13:14:53)
Note on G105: DCS-LAB$: РД 34.37.523.8-88. (22.12.2025 13:14:53)
Note on A106: DCS-LAB$: 3155211
Note on K106: DCS-LAB$: МУК 4.2.3963-23. (23.12.2025 10:50:11)
Note on A107: DCS-LAB$: 3156321
Note on L107: DCS-LAB$: ФР.1.31.2016.23616. (23.12.2025 14:51:26)
Note on M107: DCS-LAB$: ФР.1.31.2016.23616. (23.12.2025 14:51:26)
Note on N107: DCS-LAB$: ФР.1.31.2016.23616. (23.12.2025 14:51:26)
Note on A108: DCS-LAB$: 3157524
Note on F108: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (24.12.2025 14:59:17)
Note on A109: DCS-LAB$: 3158880
Note on B109: DCS-LAB$: ЦЛК-Р-03. (25.12.2025 15:21:38)
Note on E109: DCS-LAB$: ОСТ 34-37-523.7-88. (25.12.2025 15:21:38)
Note on G109: DCS-LAB$: РД 34.37.523.8-88. (25.12.2025 15:21:38)
Note on A110: DCS-LAB$: 3163314
Note on B110: DCS-LAB$: ЦЛК-Р-03. (29.12.2025 15:41:27)
Note on E110: DCS-LAB$: ОСТ 34-37-523.7-88. (29.12.2025 15:41:27)
Note on G110: DCS-LAB$: РД 34.37.523.8-88. (29.12.2025 15:41:27)
Note on A12: DCS-LAB$: 3016638
Note on B12: DCS-LAB$: ЦЛК-Р-03. (14.08.2025 13:01:21)
Note on E12: DCS-LAB$: ОСТ 34-37-523.7-88. (14.08.2025 13:01:21)
Note on G12: DCS-LAB$: РД 34.37.523.8-88. (14.08.2025 13:01:21)
Note on A111: DCS-LAB$: 3163540
Note on K111: DCS-LAB$: МУК 4.2.3963-23. (30.12.2025 9:30:26)
Note on A112: DCS-LAB$: 3164545
Note on L112: DCS-LAB$: ФР.1.31.2016.23616. (30.12.2025 13:58:50)
Note on M112: DCS-LAB$: ФР.1.31.2016.23616. (30.12.2025 13:58:50)
Note on N112: DCS-LAB$: ФР.1.31.2016.23616. (30.12.2025 13:58:50)
Note on A113: DCS-LAB$: 3165662
Note on F113: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (31.12.2025 16:04:40)
Note on A114: DCS-LAB$: 3166585
Note on B114: DCS-LAB$: ЦЛК-Р-03. (01.01.2026 14:32:17)
Note on E114: DCS-LAB$: ОСТ 34-37-523.7-88. (01.01.2026 14:32:17)
Note on G114: DCS-LAB$: РД 34.37.523.8-88. (01.01.2026 14:32:17)
Note on A115: DCS-LAB$: 3169963
Note on B115: DCS-LAB$: ЦЛК-Р-03. (05.01.2026 14:07:23)
Note on E115: DCS-LAB$: ОСТ 34-37-523.7-88. (05.01.2026 14:07:23)
Note on G115: DCS-LAB$: РД 34.37.523.8-88. (05.01.2026 14:07:23)
Note on A116: DCS-LAB$: 3170194
Note on K116: DCS-LAB$: МУК 4.2.3963-23. (06.01.2026 10:36:48)
Note on A117: DCS-LAB$: 3170992
Note on L117: DCS-LAB$: ФР.1.31.2016.23616. (06.01.2026 13:32:04)
Note on M117: DCS-LAB$: ФР.1.31.2016.23616. (06.01.2026 13:32:04)
Note on N117: DCS-LAB$: ФР.1.31.2016.23616. (06.01.2026 13:32:04)
Note on A118: DCS-LAB$: 3172081
Note on F118: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (07.01.2026 16:35:51)
Note on A119: DCS-LAB$: 3173020
Note on B119: DCS-LAB$: ЦЛК-Р-03. (08.01.2026 14:41:56)
Note on E119: DCS-LAB$: ОСТ 34-37-523.7-88. (08.01.2026 14:42:24)
Note on G119: DCS-LAB$: РД 34.37.523.8-88. (08.01.2026 14:42:24)
Note on A120: DCS-LAB$: 3176801
Note on B120: DCS-LAB$: ЦЛК-Р-03. (12.01.2026 14:41:44)
Note on E120: DCS-LAB$: ОСТ 34-37-523.7-88. (12.01.2026 14:43:01)
Note on G120: DCS-LAB$: РД 34.37.523.8-88. (12.01.2026 14:43:01)
Note on A13: DCS-LAB$: 3020376
Note on B13: DCS-LAB$: ЦЛК-Р-03. (18.08.2025 12:33:34)
Note on E13: DCS-LAB$: ОСТ 34-37-523.7-88. (18.08.2025 12:33:34)
Note on G13: DCS-LAB$: РД 34.37.523.8-88. (18.08.2025 12:33:34)
Note on A121: DCS-LAB$: 3177017
Note on K121: DCS-LAB$: МУК 4.2.3963-23. (13.01.2026 10:49:53)
Note on A122: DCS-LAB$: 3178210
Note on L122: DCS-LAB$: ФР.1.31.2016.23616. (13.01.2026 14:29:53)
Note on M122: DCS-LAB$: ФР.1.31.2016.23616. (13.01.2026 14:29:53)
Note on N122: DCS-LAB$: ФР.1.31.2016.23616. (13.01.2026 14:29:53)
Note on A123: DCS-LAB$: 3179567
Note on F123: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (14.01.2026 16:01:44)
Note on A124: DCS-LAB$: 3180829
Note on B124: DCS-LAB$: ЦЛК-Р-03. (15.01.2026 14:39:28)
Note on E124: DCS-LAB$: ОСТ 34-37-523.7-88. (15.01.2026 14:39:28)
Note on G124: DCS-LAB$: РД 34.37.523.8-88. (15.01.2026 14:39:28)
Note on A125: DCS-LAB$: 3185127
Note on B125: DCS-LAB$: ЦЛК-Р-03. (19.01.2026 16:46:55)
Note on E125: DCS-LAB$: ОСТ 34-37-523.7-88. (19.01.2026 16:20:49)
Note on G125: DCS-LAB$: РД 34.37.523.8-88. (19.01.2026 16:21:28)
Note on A126: DCS-LAB$: 3185348
Note on K126: DCS-LAB$: МУК 4.2.3963-23. (20.01.2026 10:36:56)
Note on A127: DCS-LAB$: 3186430
Note on L127: DCS-LAB$: ФР.1.31.2016.23616. (20.01.2026 14:54:12)
Note on M127: DCS-LAB$: ФР.1.31.2016.23616. (20.01.2026 14:54:12)
Note on N127: DCS-LAB$: ФР.1.31.2016.23616. (20.01.2026 14:54:12)
Note on A128: DCS-LAB$: 3187727
Note on F128: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (21.01.2026 13:35:09)
Note on A129: DCS-LAB$: 3189125
Note on B129: DCS-LAB$: ЦЛК-Р-03. (22.01.2026 15:15:35)
Note on E129: DCS-LAB$: ОСТ 34-37-523.7-88. (22.01.2026 15:15:35)
Note on G129: DCS-LAB$: РД 34.37.523.8-88. (22.01.2026 15:15:35)
Note on A130: DCS-LAB$: 3193245
Note on B130: DCS-LAB$: ЦЛК-Р-03. (26.01.2026 13:38:48)
Note on E130: DCS-LAB$: ОСТ 34-37-523.7-88. (26.01.2026 13:38:48)
Note on G130: DCS-LAB$: РД 34.37.523.8-88. (26.01.2026 13:38:48)
Note on A14: DCS-LAB$: 3020588
Note on K14: DCS-LAB$: МУК 4.2.3963-23. (19.08.2025 10:20:43)
Note on A131: DCS-LAB$: 3194211
Note on A132: DCS-LAB$: 3193461
Note on K132: DCS-LAB$: МУК 4.2.3963-23. (27.01.2026 10:26:00)
Note on A133: DCS-LAB$: 3194739
Note on L133: DCS-LAB$: ФР.1.31.2016.23616. (27.01.2026 13:43:06)
Note on M133: DCS-LAB$: ФР.1.31.2016.23616. (27.01.2026 13:43:06)
Note on N133: DCS-LAB$: ФР.1.31.2016.23616. (27.01.2026 13:43:06)
Note on A134: DCS-LAB$: 3196047
Note on F134: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (28.01.2026 16:23:28)
Note on A135: DCS-LAB$: 3197377
Note on B135: DCS-LAB$: ЦЛК-Р-03. (29.01.2026 11:55:52)
Note on E135: DCS-LAB$: ОСТ 34-37-523.7-88. (29.01.2026 13:47:53)
Note on G135: DCS-LAB$: РД 34.37.523.8-88. (29.01.2026 13:47:53)
Note on A136: DCS-LAB$: 3201401
Note on B136: DCS-LAB$: ЦЛК-Р-03. (02.02.2026 13:17:26)
Note on E136: DCS-LAB$: ОСТ 34-37-523.7-88. (02.02.2026 13:17:26)
Note on G136: DCS-LAB$: РД 34.37.523.8-88. (02.02.2026 13:17:26)
Note on A137: DCS-LAB$: 3202063
Note on A138: DCS-LAB$: 3201642
Note on K138: DCS-LAB$: МУК 4.2.3963-23. (03.02.2026 11:16:15)
Note on A139: DCS-LAB$: 3202635
Note on L139: DCS-LAB$: ФР.1.31.2016.23616. (03.02.2026 14:11:00)
Note on M139: DCS-LAB$: ФР.1.31.2016.23616. (03.02.2026 14:11:00)
Note on N139: DCS-LAB$: ФР.1.31.2016.23616. (03.02.2026 14:11:00)
Note on A140: DCS-LAB$: 3203957
Note on F140: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (04.02.2026 14:58:46)
Note on A15: DCS-LAB$: 3021588
Note on L15: DCS-LAB$: ФР.1.31.2016.23616. (19.08.2025 13:59:10)
Note on M15: DCS-LAB$: ФР.1.31.2016.23616. (19.08.2025 13:59:10)
Note on N15: DCS-LAB$: ФР.1.31.2016.23616. (19.08.2025 13:59:10)
Note on A141: DCS-LAB$: 3205333
Note on B141: DCS-LAB$: ЦЛК-Р-03. (05.02.2026 14:49:26)
Note on E141: DCS-LAB$: ОСТ 34-37-523.7-88. (05.02.2026 13:42:35)
Note on G141: DCS-LAB$: РД 34.37.523.8-88. (05.02.2026 15:06:10)
Note on A142: DCS-LAB$: 3209434
Note on B142: DCS-LAB$: ЦЛК-Р-03. (09.02.2026 13:44:17)
Note on E142: DCS-LAB$: ОСТ 34-37-523.7-88. (09.02.2026 12:19:35)
Note on G142: DCS-LAB$: РД 34.37.523.8-88. (09.02.2026 12:19:44)
Note on A143: DCS-LAB$: 3209670
Note on K143: DCS-LAB$: МУК 4.2.3963-23. (10.02.2026 10:53:49)
Note on A144: DCS-LAB$: 3210773
Note on L144: DCS-LAB$: ФР.1.31.2016.23616. (10.02.2026 14:07:36)
Note on M144: DCS-LAB$: ФР.1.31.2016.23616. (10.02.2026 14:07:36)
Note on N144: DCS-LAB$: ФР.1.31.2016.23616. (10.02.2026 14:07:36)
Note on A145: DCS-LAB$: 3211832
Note on F145: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (11.02.2026 15:06:00)
Note on A146: DCS-LAB$: 3213418
Note on B146: DCS-LAB$: ЦЛК-Р-03. (12.02.2026 13:08:35)
Note on E146: DCS-LAB$: ОСТ 34-37-523.7-88. (12.02.2026 13:08:35)
Note on G146: DCS-LAB$: РД 34.37.523.8-88. (12.02.2026 13:08:35)
Note on A147: DCS-LAB$: 3217809
Note on B147: DCS-LAB$: ЦЛК-Р-03. (16.02.2026 12:42:26)
Note on E147: DCS-LAB$: ОСТ 34-37-523.7-88. (16.02.2026 12:42:26)
Note on G147: DCS-LAB$: РД 34.37.523.8-88. (16.02.2026 12:42:26)
Note on A148: DCS-LAB$: 3218039
Note on K148: DCS-LAB$: МУК 4.2.3963-23. (17.02.2026 10:48:12)
Note on A149: DCS-LAB$: 3219382
Note on L149: DCS-LAB$: ФР.1.31.2016.23616. (17.02.2026 14:25:25)
Note on M149: DCS-LAB$: ФР.1.31.2016.23616. (17.02.2026 14:25:25)
Note on N149: DCS-LAB$: ФР.1.31.2016.23616. (17.02.2026 14:25:25)
Note on A150: DCS-LAB$: 3220535
Note on F150: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (18.02.2026 16:10:29)
Note on A16: DCS-LAB$: 3022597
Note on F16: DCS-LAB$: ПНД Ф 14.1:2.110-97. (20.08.2025 16:06:02)
Note on A151: DCS-LAB$: 3221881
Note on B151: DCS-LAB$: ЦЛК-Р-03. (19.02.2026 14:17:35)
Note on E151: DCS-LAB$: ОСТ 34-37-523.7-88. (19.02.2026 14:17:35)
Note on G151: DCS-LAB$: РД 34.37.523.8-88. (19.02.2026 14:17:35)
Note on A152: DCS-LAB$: 3226330
Note on B152: DCS-LAB$: ЦЛК-Р-03. (23.02.2026 14:16:33)
Note on E152: DCS-LAB$: ОСТ 34-37-523.7-88. (23.02.2026 14:16:33)
Note on G152: DCS-LAB$: РД 34.37.523.8-88. (23.02.2026 14:16:33)
Note on A153: DCS-LAB$: 3226551
Note on K153: DCS-LAB$: МУК 4.2.3963-23. (24.02.2026 10:46:03)
Note on A154: DCS-LAB$: 3227208
Note on L154: DCS-LAB$: ФР.1.31.2016.23616. (24.02.2026 13:58:40)
Note on M154: DCS-LAB$: ФР.1.31.2016.23616. (24.02.2026 13:58:40)
Note on N154: DCS-LAB$: ФР.1.31.2016.23616. (24.02.2026 13:58:40)
Note on A155: DCS-LAB$: 3228565
Note on F155: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (25.02.2026 16:43:57)
Note on A156: DCS-LAB$: 3229871
Note on B156: DCS-LAB$: ЦЛК-Р-03. (26.02.2026 12:55:13)
Note on E156: DCS-LAB$: ОСТ 34-37-523.7-88. (26.02.2026 12:55:13)
Note on G156: DCS-LAB$: РД 34.37.523.8-88. (26.02.2026 12:55:13)
Note on A157: DCS-LAB$: 3234430
Note on B157: DCS-LAB$: ЦЛК-Р-03. (02.03.2026 14:51:49)
Note on E157: DCS-LAB$: ОСТ 34-37-523.7-88. (02.03.2026 14:51:49)
Note on G157: DCS-LAB$: РД 34.37.523.8-88. (02.03.2026 14:51:49)
Note on A158: DCS-LAB$: 3234606
Note on K158: DCS-LAB$: МУК 4.2.3963-23. (03.03.2026 11:08:19)
Note on A159: DCS-LAB$: 3235779
Note on L159: DCS-LAB$: ФР.1.31.2016.23616. (03.03.2026 15:04:03)
Note on M159: DCS-LAB$: ФР.1.31.2016.23616. (03.03.2026 15:04:03)
Note on N159: DCS-LAB$: ФР.1.31.2016.23616. (03.03.2026 15:04:03)
Note on A160: DCS-LAB$: 3237140
Note on F160: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (04.03.2026 15:36:17)
Note on H160: DCS-LAB$: ПНД Ф 14.1.2:3.96-97. (04.03.2026 13:50:17)
Note on A17: DCS-LAB$: 3023756
Note on B17: DCS-LAB$: ЦЛК-Р-03. (21.08.2025 15:21:54)
Note on E17: DCS-LAB$: ОСТ 34-37-523.7-88. (21.08.2025 11:55:15)
Note on G17: DCS-LAB$: РД 34.37.523.8-88. (21.08.2025 15:21:54)
Note on A161: DCS-LAB$: 3238363
Note on B161: DCS-LAB$: ЦЛК-Р-03. (05.03.2026 13:57:51)
Note on E161: DCS-LAB$: ОСТ 34-37-523.7-88. (05.03.2026 13:57:51)
Note on G161: DCS-LAB$: РД 34.37.523.8-88. (05.03.2026 13:57:51)
Note on A162: DCS-LAB$: 3242338
Note on B162: DCS-LAB$: ЦЛК-Р-03. (09.03.2026 11:05:44)
Note on E162: DCS-LAB$: ОСТ 34-37-523.7-88. (09.03.2026 11:05:44)
Note on G162: DCS-LAB$: РД 34.37.523.8-88. (09.03.2026 11:05:44)
Note on A163: DCS-LAB$: 3242566
Note on K163: DCS-LAB$: МУК 4.2.3963-23. (10.03.2026 11:29:44)
Note on A164: DCS-LAB$: 3243220
Note on L164: DCS-LAB$: ФР.1.31.2016.23616. (10.03.2026 14:56:41)
Note on M164: DCS-LAB$: ФР.1.31.2016.23616. (10.03.2026 14:56:41)
Note on N164: DCS-LAB$: ФР.1.31.2016.23616. (10.03.2026 14:56:41)
Note on A165: DCS-LAB$: 3244672
Note on F165: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (11.03.2026 14:43:28)
Note on A166: DCS-LAB$: 3246143
Note on B166: DCS-LAB$: ЦЛК-Р-03. (12.03.2026 14:44:16)
Note on E166: DCS-LAB$: ОСТ 34-37-523.7-88. (12.03.2026 14:44:16)
Note on G166: DCS-LAB$: РД 34.37.523.8-88. (12.03.2026 14:44:16)
Note on A167: DCS-LAB$: 3250405
Note on B167: DCS-LAB$: ЦЛК-Р-03. (16.03.2026 12:48:59)
Note on E167: DCS-LAB$: ОСТ 34-37-523.7-88. (16.03.2026 12:48:59)
Note on G167: DCS-LAB$: РД 34.37.523.8-88. (16.03.2026 12:48:59)
Note on A168: DCS-LAB$: 3250601
Note on K168: DCS-LAB$: МУК 4.2.3963-23. (17.03.2026 11:34:51)
Note on A169: DCS-LAB$: 3251905
Note on L169: DCS-LAB$: ФР.1.31.2016.23616. (17.03.2026 14:58:13)
Note on M169: DCS-LAB$: ФР.1.31.2016.23616. (17.03.2026 14:58:13)
Note on N169: DCS-LAB$: ФР.1.31.2016.23616. (17.03.2026 14:58:13)
Note on A170: DCS-LAB$: 3253205
Note on F170: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (18.03.2026 16:18:03)
Note on A18: DCS-LAB$: 3027785
Note on B18: DCS-LAB$: ЦЛК-Р-03. (25.08.2025 11:28:33)
Note on E18: DCS-LAB$: ОСТ 34-37-523.7-88. (25.08.2025 12:31:09)
Note on G18: DCS-LAB$: РД 34.37.523.8-88. (25.08.2025 12:31:09)
Note on A171: DCS-LAB$: 3254422
Note on B171: DCS-LAB$: ЦЛК-Р-03. (19.03.2026 15:27:33)
Note on E171: DCS-LAB$: ОСТ 34-37-523.7-88. (19.03.2026 15:27:33)
Note on G171: DCS-LAB$: РД 34.37.523.8-88. (19.03.2026 15:27:33)
Note on A172: DCS-LAB$: 3258007
Note on B172: DCS-LAB$: ЦЛК-Р-03. (23.03.2026 15:22:04)
Note on E172: DCS-LAB$: ОСТ 34-37-523.7-88. (23.03.2026 15:22:04)
Note on G172: DCS-LAB$: РД 34.37.523.8-88. (23.03.2026 15:22:04)
Note on A173: DCS-LAB$: 3258245
Note on K173: DCS-LAB$: МУК 4.2.3963-23. (24.03.2026 10:17:15)
Note on A174: DCS-LAB$: 3259254
Note on L174: DCS-LAB$: ФР.1.31.2016.23616. (24.03.2026 14:36:30)
Note on M174: DCS-LAB$: ФР.1.31.2016.23616. (24.03.2026 14:36:30)
Note on N174: DCS-LAB$: ФР.1.31.2016.23616. (24.03.2026 14:36:30)
Note on A175: DCS-LAB$: 3260465
Note on F175: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (25.03.2026 20:31:28)
Note on A176: DCS-LAB$: 3261813
Note on B176: DCS-LAB$: ЦЛК-Р-03. (26.03.2026 11:34:07)
Note on E176: DCS-LAB$: ОСТ 34-37-523.7-88. (26.03.2026 11:34:07)
Note on G176: DCS-LAB$: РД 34.37.523.8-88. (26.03.2026 11:34:07)
Note on A177: DCS-LAB$: 3265806
Note on B177: DCS-LAB$: ЦЛК-Р-03. (30.03.2026 12:56:32)
Note on E177: DCS-LAB$: ОСТ 34-37-523.7-88. (30.03.2026 12:56:32)
Note on G177: DCS-LAB$: РД 34.37.523.8-88. (30.03.2026 12:56:32)
Note on A178: DCS-LAB$: 3266021
Note on K178: DCS-LAB$: МУК 4.2.3963-23. (31.03.2026 11:02:45)
Note on A179: DCS-LAB$: 3266967
Note on L179: DCS-LAB$: ФР.1.31.2016.23616. (31.03.2026 15:18:49)
Note on M179: DCS-LAB$: ФР.1.31.2016.23616. (31.03.2026 15:18:49)
Note on N179: DCS-LAB$: ФР.1.31.2016.23616. (31.03.2026 15:18:49)
Note on A180: DCS-LAB$: 3268175
Note on F180: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (01.04.2026 16:09:58)
Note on A19: DCS-LAB$: 3027977
Note on K19: DCS-LAB$: МУК 4.2.3963-23. (26.08.2025 10:41:54)
Note on A181: DCS-LAB$: 3269405
Note on B181: DCS-LAB$: ЦЛК-Р-03. (02.04.2026 14:46:55)
Note on E181: DCS-LAB$: ОСТ 34-37-523.7-88. (02.04.2026 11:37:07)
Note on G181: DCS-LAB$: РД 34.37.523.8-88. (02.04.2026 14:50:15)
Note on A182: DCS-LAB$: 3273331
Note on B182: DCS-LAB$: ЦЛК-Р-03. (06.04.2026 13:26:54)
Note on E182: DCS-LAB$: ОСТ 34-37-523.7-88. (06.04.2026 14:07:39)
Note on G182: DCS-LAB$: РД 34.37.523.8-88. (06.04.2026 13:27:33)
Note on A183: DCS-LAB$: 3273982
Note on A184: DCS-LAB$: 3273575
Note on K184: DCS-LAB$: МУК 4.2.3963-23. (07.04.2026 11:00:01)
Note on A185: DCS-LAB$: 3274293
Note on L185: DCS-LAB$: ФР.1.31.2016.23616. (07.04.2026 14:14:07)
Note on M185: DCS-LAB$: ФР.1.31.2016.23616. (07.04.2026 14:14:07)
Note on N185: DCS-LAB$: ФР.1.31.2016.23616. (07.04.2026 14:14:07)
Note on A186: DCS-LAB$: 3275463
Note on F186: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (08.04.2026 14:39:03)
Note on A187: DCS-LAB$: 3276572
Note on B187: DCS-LAB$: ЦЛК-Р-03. (09.04.2026 11:45:31)
Note on E187: DCS-LAB$: ОСТ 34-37-523.7-88. (09.04.2026 15:09:42)
Note on G187: DCS-LAB$: РД 34.37.523.8-88. (09.04.2026 15:09:42)
Note on A188: DCS-LAB$: 3280558
Note on B188: DCS-LAB$: ЦЛК-Р-03. (13.04.2026 13:36:36)
Note on E188: DCS-LAB$: ОСТ 34-37-523.7-88. (13.04.2026 13:36:36)
Note on G188: DCS-LAB$: РД 34.37.523.8-88. (13.04.2026 13:36:36)
Note on A189: DCS-LAB$: 3280806
Note on K189: DCS-LAB$: МУК 4.2.3963-23. (14.04.2026 10:50:00)
Note on A190: DCS-LAB$: 3281965
Note on L190: DCS-LAB$: ФР.1.31.2016.23616. (14.04.2026 14:24:28)
Note on M190: DCS-LAB$: ФР.1.31.2016.23616. (14.04.2026 14:24:28)
Note on N190: DCS-LAB$: ФР.1.31.2016.23616. (14.04.2026 14:24:28)
Note on A20: DCS-LAB$: 3028917
Note on L20: DCS-LAB$: ФР.1.31.2016.23616. (26.08.2025 14:14:45)
Note on M20: DCS-LAB$: ФР.1.31.2016.23616. (26.08.2025 14:14:45)
Note on N20: DCS-LAB$: ФР.1.31.2016.23616. (26.08.2025 14:14:45)
Note on A191: DCS-LAB$: 3283102
Note on F191: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (15.04.2026 13:42:35)
Note on A192: DCS-LAB$: 3284417
Note on B192: DCS-LAB$: ЦЛК-Р-03. (16.04.2026 14:29:30)
Note on E192: DCS-LAB$: ОСТ 34-37-523.7-88. (16.04.2026 14:29:30)
Note on G192: DCS-LAB$: РД 34.37.523.8-88. (16.04.2026 14:29:30)
Note on A193: DCS-LAB$: 3288352
Note on B193: DCS-LAB$: ЦЛК-Р-03. (20.04.2026 14:07:00)
Note on E193: DCS-LAB$: ОСТ 34-37-523.7-88. (20.04.2026 14:07:00)
Note on G193: DCS-LAB$: РД 34.37.523.8-88. (20.04.2026 14:07:00)
Note on A194: DCS-LAB$: 3288573
Note on K194: DCS-LAB$: МУК 4.2.3963-23. (21.04.2026 10:53:54)
Note on A195: DCS-LAB$: 3289317
Note on L195: DCS-LAB$: ФР.1.31.2016.23616. (21.04.2026 15:21:46)
Note on M195: DCS-LAB$: ФР.1.31.2016.23616. (21.04.2026 15:21:46)
Note on N195: DCS-LAB$: ФР.1.31.2016.23616. (21.04.2026 15:21:46)
Note on A196: DCS-LAB$: 3290218
Note on F196: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (22.04.2026 15:20:07)
Note on A197: DCS-LAB$: 3291016
Note on B197: DCS-LAB$: ЦЛК-Р-03. (23.04.2026 13:33:30)
Note on E197: DCS-LAB$: ОСТ 34-37-523.7-88. (23.04.2026 13:33:30)
Note on G197: DCS-LAB$: РД 34.37.523.8-88. (23.04.2026 13:33:30)
Note on A198: DCS-LAB$: 3294017
Note on B198: DCS-LAB$: ЦЛК-Р-03. (27.04.2026 13:17:31)
Note on E198: DCS-LAB$: ОСТ 34-37-523.7-88. (27.04.2026 13:17:31)
Note on G198: DCS-LAB$: РД 34.37.523.8-88. (27.04.2026 13:17:31)
Note on A199: DCS-LAB$: 3294233
Note on K199: DCS-LAB$: МУК 4.2.3963-23. (28.04.2026 10:59:48)
Note on A200: DCS-LAB$: 3294909
Note on L200: DCS-LAB$: ФР.1.31.2016.23616. (28.04.2026 14:22:41)
Note on M200: DCS-LAB$: ФР.1.31.2016.23616. (28.04.2026 14:22:41)
Note on N200: DCS-LAB$: ФР.1.31.2016.23616. (28.04.2026 14:22:41)
Note on A3: DCS-LAB$: 3006648
Note on A21: DCS-LAB$: 3030015
Note on F21: DCS-LAB$: ПНД Ф 14.1:2.110-97. (27.08.2025 12:49:42)
Note on A201: DCS-LAB$: 3295784
Note on F201: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (29.04.2026 14:54:08)
Note on A202: DCS-LAB$: 3296736
Note on B202: DCS-LAB$: ЦЛК-Р-03. (30.04.2026 13:30:18)
Note on E202: DCS-LAB$: ОСТ 34-37-523.7-88. (30.04.2026 13:36:41)
Note on G202: DCS-LAB$: РД 34.37.523.8-88. (30.04.2026 13:36:41)
Note on A203: DCS-LAB$: 3300019
Note on B203: DCS-LAB$: ЦЛК-Р-03. (04.05.2026 14:45:44)
Note on E203: DCS-LAB$: ОСТ 34-37-523.7-88. (04.05.2026 10:40:09)
Note on G203: DCS-LAB$: РД 34.37.523.8-88. (04.05.2026 10:40:09)
Note on A204: DCS-LAB$: 3300276
Note on K204: DCS-LAB$: МУК 4.2.3963-23. (05.05.2026 10:23:40)
Note on A205: DCS-LAB$: 3301045
Note on L205: DCS-LAB$: ФР.1.31.2016.23616. (05.05.2026 14:53:48)
Note on M205: DCS-LAB$: ФР.1.31.2016.23616. (05.05.2026 14:53:48)
Note on N205: DCS-LAB$: ФР.1.31.2016.23616. (05.05.2026 14:53:48)
Note on A206: DCS-LAB$: 3302011
Note on F206: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (06.05.2026 16:18:02)
Note on A207: DCS-LAB$: 3302860
Note on B207: DCS-LAB$: ЦЛК-Р-03. (07.05.2026 12:02:11)
Note on E207: DCS-LAB$: ОСТ 34-37-523.7-88. (07.05.2026 12:02:11)
Note on G207: DCS-LAB$: РД 34.37.523.8-88. (07.05.2026 12:02:11)
Note on A208: DCS-LAB$: 3305846
Note on B208: DCS-LAB$: ЦЛК-Р-03. (11.05.2026 13:35:05)
Note on E208: DCS-LAB$: ОСТ 34-37-523.7-88. (11.05.2026 13:35:05)
Note on G208: DCS-LAB$: РД 34.37.523.8-88. (11.05.2026 13:35:05)
Note on A209: DCS-LAB$: 3306094
Note on K209: DCS-LAB$: МУК 4.2.3963-23. (12.05.2026 10:57:05)
Note on A210: DCS-LAB$: 3306600
Note on L210: DCS-LAB$: ФР.1.31.2016.23616. (12.05.2026 14:58:11)
Note on M210: DCS-LAB$: ФР.1.31.2016.23616. (12.05.2026 14:58:11)
Note on N210: DCS-LAB$: ФР.1.31.2016.23616. (12.05.2026 14:58:11)
Note on A22: DCS-LAB$: 3031174
Note on B22: DCS-LAB$: ЦЛК-Р-03. (28.08.2025 13:05:30)
Note on E22: DCS-LAB$: ОСТ 34-37-523.7-88. (28.08.2025 13:05:30)
Note on G22: DCS-LAB$: РД 34.37.523.8-88. (28.08.2025 13:05:30)
Note on A211: DCS-LAB$: 3307396
Note on F211: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (13.05.2026 15:11:43)
Note on A212: DCS-LAB$: 3308305
Note on B212: DCS-LAB$: ЦЛК-Р-03. (14.05.2026 13:11:13)
Note on E212: DCS-LAB$: ОСТ 34-37-523.7-88. (14.05.2026 13:11:13)
Note on G212: DCS-LAB$: РД 34.37.523.8-88. (14.05.2026 13:11:13)
Note on A213: DCS-LAB$: 3311582
Note on B213: DCS-LAB$: ЦЛК-Р-03. (18.05.2026 13:53:26)
Note on E213: DCS-LAB$: ОСТ 34-37-523.7-88. (18.05.2026 13:53:26)
Note on G213: DCS-LAB$: РД 34.37.523.8-88. (18.05.2026 13:53:26)
Note on A214: DCS-LAB$: 3311830
Note on K214: DCS-LAB$: МУК 4.2.3963-23. (19.05.2026 9:50:49)
Note on A215: DCS-LAB$: 3312827
Note on L215: DCS-LAB$: ФР.1.31.2016.23616. (19.05.2026 14:41:02)
Note on M215: DCS-LAB$: ФР.1.31.2016.23616. (19.05.2026 14:41:02)
Note on N215: DCS-LAB$: ФР.1.31.2016.23616. (19.05.2026 14:41:02)
Note on A216: DCS-LAB$: 3313904
Note on F216: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (20.05.2026 15:17:48)
Note on A217: DCS-LAB$: 3315035
Note on B217: DCS-LAB$: ЦЛК-Р-03. (21.05.2026 13:08:39)
Note on E217: DCS-LAB$: ОСТ 34-37-523.7-88. (21.05.2026 13:08:39)
Note on G217: DCS-LAB$: РД 34.37.523.8-88. (21.05.2026 13:08:39)
Note on A218: DCS-LAB$: 3318911
Note on B218: DCS-LAB$: ЦЛК-Р-03. (25.05.2026 13:36:32)
Note on E218: DCS-LAB$: ОСТ 34-37-523.7-88. (25.05.2026 13:36:32)
Note on G218: DCS-LAB$: РД 34.37.523.8-88. (25.05.2026 13:36:32)
Note on A219: DCS-LAB$: 3319162
Note on K219: DCS-LAB$: МУК 4.2.3963-23. (26.05.2026 9:40:37)
Note on A220: DCS-LAB$: 3320050
Note on L220: DCS-LAB$: ФР.1.31.2016.23616. (26.05.2026 13:27:14)
Note on M220: DCS-LAB$: ФР.1.31.2016.23616. (26.05.2026 13:27:14)
Note on N220: DCS-LAB$: ФР.1.31.2016.23616. (26.05.2026 13:27:14)
Note on A23: DCS-LAB$: 3034833
Note on B23: DCS-LAB$: ЦЛК-Р-03. (01.09.2025 11:30:48)
Note on E23: DCS-LAB$: ОСТ 34-37-523.7-88. (01.09.2025 11:30:48)
Note on G23: DCS-LAB$: РД 34.37.523.8-88. (01.09.2025 11:30:48)
Note on A221: DCS-LAB$: 3321330
Note on F221: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (27.05.2026 16:43:06)
Note on A222: DCS-LAB$: 3322166
Note on B222: DCS-LAB$: ЦЛК-Р-03. (28.05.2026 13:15:38)
Note on E222: DCS-LAB$: ОСТ 34-37-523.7-88. (28.05.2026 14:30:11)
Note on G222: DCS-LAB$: РД 34.37.523.8-88. (28.05.2026 14:29:55)
Note on A223: DCS-LAB$: 3326461
Note on B223: DCS-LAB$: ЦЛК-Р-03. (01.06.2026 14:54:07)
Note on E223: DCS-LAB$: ОСТ 34-37-523.7-88. (01.06.2026 14:54:07)
Note on G223: DCS-LAB$: РД 34.37.523.8-88. (01.06.2026 14:54:07)
Note on A224: DCS-LAB$: 3327156
Note on A225: DCS-LAB$: 3326715
Note on K225: DCS-LAB$: МУК 4.2.3963-23. (02.06.2026 11:05:22)
Note on A226: DCS-LAB$: 3327832
Note on L226: DCS-LAB$: ФР.1.31.2016.23616. (02.06.2026 14:18:14)
Note on M226: DCS-LAB$: ФР.1.31.2016.23616. (02.06.2026 14:18:14)
Note on N226: DCS-LAB$: ФР.1.31.2016.23616. (02.06.2026 14:18:14)
Note on A227: DCS-LAB$: 3329141
Note on F227: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (03.06.2026 16:19:15)
Note on A228: DCS-LAB$: 3330309
Note on B228: DCS-LAB$: ЦЛК-Р-03. (04.06.2026 11:57:52)
Note on E228: DCS-LAB$: ОСТ 34-37-523.7-88. (04.06.2026 11:57:52)
Note on G228: DCS-LAB$: РД 34.37.523.8-88. (04.06.2026 11:57:52)
Note on A229: DCS-LAB$: 3334438
Note on B229: DCS-LAB$: ЦЛК-Р-03. (08.06.2026 11:00:52)
Note on E229: DCS-LAB$: ОСТ 34-37-523.7-88. (08.06.2026 11:00:52)
Note on G229: DCS-LAB$: РД 34.37.523.8-88. (08.06.2026 11:00:52)
Note on A230: DCS-LAB$: 3334697
Note on K230: DCS-LAB$: МУК 4.2.3963-23. (09.06.2026 10:10:52)
Note on A24: DCS-LAB$: 3035056
Note on K24: DCS-LAB$: МУК 4.2.3963-23. (02.09.2025 10:18:46)
Note on A231: DCS-LAB$: 3335724
Note on L231: DCS-LAB$: ФР.1.31.2016.23616. (09.06.2026 14:10:58)
Note on M231: DCS-LAB$: ФР.1.31.2016.23616. (09.06.2026 14:10:58)
Note on N231: DCS-LAB$: ФР.1.31.2016.23616. (09.06.2026 14:10:58)
Note on A232: DCS-LAB$: 3337007
Note on F232: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (10.06.2026 14:50:14)
Note on A233: DCS-LAB$: 3338149
Note on B233: DCS-LAB$: ЦЛК-Р-03. (11.06.2026 12:53:02)
Note on E233: DCS-LAB$: ОСТ 34-37-523.7-88. (11.06.2026 12:53:02)
Note on G233: DCS-LAB$: РД 34.37.523.8-88. (11.06.2026 12:53:02)
Note on A234: DCS-LAB$: 3341158
Note on B234: DCS-LAB$: ЦЛК-Р-03. (15.06.2026 13:43:24)
Note on E234: DCS-LAB$: ОСТ 34-37-523.7-88. (15.06.2026 13:43:24)
Note on G234: DCS-LAB$: РД 34.37.523.8-88. (15.06.2026 13:43:24)
Note on A235: DCS-LAB$: 3341410
Note on K235: DCS-LAB$: МУК 4.2.3963-23. (16.06.2026 11:10:24)
Note on A236: DCS-LAB$: 3342062
Note on L236: DCS-LAB$: ФР.1.31.2016.23616. (16.06.2026 13:41:42)
Note on M236: DCS-LAB$: ФР.1.31.2016.23616. (16.06.2026 13:41:42)
Note on N236: DCS-LAB$: ФР.1.31.2016.23616. (16.06.2026 13:41:42)
Note on A237: DCS-LAB$: 3343057
Note on F237: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (17.06.2026 14:10:24)
Note on A238: DCS-LAB$: 3343936
Note on B238: DCS-LAB$: ЦЛК-Р-03. (18.06.2026 10:19:15)
Note on E238: DCS-LAB$: ОСТ 34-37-523.7-88. (18.06.2026 10:19:15)
Note on G238: DCS-LAB$: РД 34.37.523.8-88. (18.06.2026 10:19:15)
Note on A239: DCS-LAB$: 3347235
Note on B239: DCS-LAB$: ЦЛК-Р-03. (22.06.2026 13:16:25)
Note on E239: DCS-LAB$: ОСТ 34-37-523.7-88. (22.06.2026 13:16:25)
Note on G239: DCS-LAB$: РД 34.37.523.8-88. (22.06.2026 13:16:25)
Note on A240: DCS-LAB$: 3347481
Note on K240: DCS-LAB$: МУК 4.2.3963-23. (23.06.2026 10:33:51)
Note on A25: DCS-LAB$: 3035982
Note on L25: DCS-LAB$: ФР.1.31.2016.23616. (02.09.2025 13:14:31)
Note on M25: DCS-LAB$: ФР.1.31.2016.23616. (02.09.2025 13:14:31)
Note on N25: DCS-LAB$: ФР.1.31.2016.23616. (02.09.2025 13:14:31)
Note on A241: DCS-LAB$: 3348264
Note on L241: DCS-LAB$: ФР.1.31.2016.23616. (23.06.2026 14:04:35)
Note on M241: DCS-LAB$: ФР.1.31.2016.23616. (23.06.2026 14:04:35)
Note on N241: DCS-LAB$: ФР.1.31.2016.23616. (23.06.2026 14:04:35)
Note on A242: DCS-LAB$: 3349380
Note on F242: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (24.06.2026 15:52:11)
Note on A243: DCS-LAB$: 3350379
Note on B243: DCS-LAB$: ЦЛК-Р-03. (25.06.2026 12:46:04)
Note on E243: DCS-LAB$: ОСТ 34-37-523.7-88. (25.06.2026 12:46:04)
Note on G243: DCS-LAB$: РД 34.37.523.8-88. (25.06.2026 12:46:04)
Note on A244: DCS-LAB$: 3353863
Note on B244: DCS-LAB$: ЦЛК-Р-03. (29.06.2026 13:16:52)
Note on E244: DCS-LAB$: ОСТ 34-37-523.7-88. (29.06.2026 12:32:24)
Note on G244: DCS-LAB$: РД 34.37.523.8-88. (29.06.2026 12:32:24)
Note on A245: DCS-LAB$: 3354089
Note on K245: DCS-LAB$: МУК 4.2.3963-23. (30.06.2026 10:35:50)
Note on A246: DCS-LAB$: 3354926
Note on L246: DCS-LAB$: ФР.1.31.2016.23616. (30.06.2026 14:30:20)
Note on M246: DCS-LAB$: ФР.1.31.2016.23616. (30.06.2026 14:30:20)
Note on N246: DCS-LAB$: ФР.1.31.2016.23616. (30.06.2026 14:30:20)
Note on A247: DCS-LAB$: 3355969
Note on F247: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (01.07.2026 16:35:44)
Note on A248: DCS-LAB$: 3357064
Note on B248: DCS-LAB$: ЦЛК-Р-03. (02.07.2026 13:55:36)
Note on E248: DCS-LAB$: ОСТ 34-37-523.7-88. (02.07.2026 13:55:36)
Note on G248: DCS-LAB$: РД 34.37.523.8-88. (02.07.2026 13:55:36)
Note on A249: DCS-LAB$: 3360592
Note on B249: DCS-LAB$: ЦЛК-Р-03. (06.07.2026 13:19:09)
Note on E249: DCS-LAB$: ОСТ 34-37-523.7-88. (06.07.2026 13:19:09)
Note on G249: DCS-LAB$: РД 34.37.523.8-88. (06.07.2026 13:19:09)
Note on A250: DCS-LAB$: 3361421
Note on A26: DCS-LAB$: 3037212
Note on F26: DCS-LAB$: ПНД Ф 14.1:2.110-97. (03.09.2025 15:26:07)
Note on A251: DCS-LAB$: 3360869
Note on K251: DCS-LAB$: МУК 4.2.3963-23. (07.07.2026 10:42:08)
Note on A252: DCS-LAB$: 3361766
Note on L252: DCS-LAB$: ФР.1.31.2016.23616. (07.07.2026 15:08:15)
Note on M252: DCS-LAB$: ФР.1.31.2016.23616. (07.07.2026 15:08:15)
Note on N252: DCS-LAB$: ФР.1.31.2016.23616. (07.07.2026 15:08:15)
Note on A253: DCS-LAB$: 3362944
Note on F253: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (08.07.2026 15:26:14)
Note on A254: DCS-LAB$: 3363816
Note on B254: DCS-LAB$: ЦЛК-Р-03. (09.07.2026 14:03:41)
Note on E254: DCS-LAB$: ОСТ 34-37-523.7-88. (09.07.2026 14:03:41)
Note on G254: DCS-LAB$: РД 34.37.523.8-88. (09.07.2026 14:03:41)
Note on A255: DCS-LAB$: 3367615
Note on B255: DCS-LAB$: ЦЛК-Р-03. (13.07.2026 14:36:51)
Note on E255: DCS-LAB$: ОСТ 34-37-523.7-88. (13.07.2026 14:36:51)
Note on G255: DCS-LAB$: РД 34.37.523.8-88. (13.07.2026 14:36:51)
Note on A256: DCS-LAB$: 3367870
Note on K256: DCS-LAB$: МУК 4.2.3963-23. (14.07.2026 10:37:36)
Note on A257: DCS-LAB$: 3368818
Note on L257: DCS-LAB$: ФР.1.31.2016.23616. (14.07.2026 14:37:42)
Note on M257: DCS-LAB$: ФР.1.31.2016.23616. (14.07.2026 14:37:42)
Note on N257: DCS-LAB$: ФР.1.31.2016.23616. (14.07.2026 14:37:42)
Note on A258: DCS-LAB$: 3370024
Note on F258: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (15.07.2026 16:16:40)
Note on A259: DCS-LAB$: 3371145
Note on B259: DCS-LAB$: ЦЛК-Р-03. (16.07.2026 13:09:05)
Note on E259: DCS-LAB$: ОСТ 34-37-523.7-88. (16.07.2026 13:09:05)
Note on G259: DCS-LAB$: РД 34.37.523.8-88. (16.07.2026 13:09:05)
Note on A260: DCS-LAB$: 3374911
Note on B260: DCS-LAB$: ЦЛК-Р-03. (20.07.2026 13:53:05)
Note on E260: DCS-LAB$: ОСТ 34-37-523.7-88. (20.07.2026 13:53:05)
Note on G260: DCS-LAB$: РД 34.37.523.8-88. (20.07.2026 13:53:05)
Note on A27: DCS-LAB$: 3038408
Note on B27: DCS-LAB$: ЦЛК-Р-03. (04.09.2025 14:16:19)
Note on E27: DCS-LAB$: ОСТ 34-37-523.7-88. (04.09.2025 14:16:19)
Note on G27: DCS-LAB$: РД 34.37.523.8-88. (04.09.2025 14:16:19)
Note on A261: DCS-LAB$: 3375204
Note on K261: DCS-LAB$: МУК 4.2.3963-23. (21.07.2026 10:51:24)
Note on A262: DCS-LAB$: 3376084
Note on L262: DCS-LAB$: ФР.1.31.2016.23616. (21.07.2026 16:30:34)
Note on M262: DCS-LAB$: ФР.1.31.2016.23616. (21.07.2026 16:30:34)
Note on N262: DCS-LAB$: ФР.1.31.2016.23616. (21.07.2026 16:30:34)
Note on A263: DCS-LAB$: 3377144
Note on F263: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (22.07.2026 14:57:23)
Note on A264: DCS-LAB$: 3378188
Note on B264: DCS-LAB$: ЦЛК-Р-03. (23.07.2026 14:37:21)
Note on E264: DCS-LAB$: ОСТ 34-37-523.7-88. (23.07.2026 14:37:21)
Note on G264: DCS-LAB$: РД 34.37.523.8-88. (23.07.2026 14:37:21)
Note on A265: DCS-LAB$: 3381642
Note on B265: DCS-LAB$: ЦЛК-Р-03. (27.07.2026 14:39:50)
Note on E265: DCS-LAB$: ОСТ 34-37-523.7-88. (27.07.2026 14:39:50)
Note on G265: DCS-LAB$: РД 34.37.523.8-88. (27.07.2026 14:39:50)
Note on A266: DCS-LAB$: 3381866
Note on K266: DCS-LAB$: МУК 4.2.3963-23. (28.07.2026 10:49:49)
Note on A267: DCS-LAB$: 3382708
Note on L267: DCS-LAB$: ФР.1.31.2016.23616. (28.07.2026 14:18:12)
Note on M267: DCS-LAB$: ФР.1.31.2016.23616. (28.07.2026 14:18:12)
Note on N267: DCS-LAB$: ФР.1.31.2016.23616. (28.07.2026 14:18:12)
Note on A268: DCS-LAB$: 3383859
Note on F268: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (29.07.2026 14:57:18)
Note on A269: DCS-LAB$: 3384962
Note on B269: DCS-LAB$: ЦЛК-Р-03. (30.07.2026 14:39:06)
Note on E269: DCS-LAB$: ОСТ 34-37-523.7-88. (30.07.2026 14:39:06)
Note on G269: DCS-LAB$: РД 34.37.523.8-88. (30.07.2026 14:39:06)
Note on A270: DCS-LAB$: 3388580
Note on B270: DCS-LAB$: ЦЛК-Р-03. (03.08.2026 12:28:41)
Note on E270: DCS-LAB$: ОСТ 34-37-523.7-88. (03.08.2026 12:28:41)
Note on G270: DCS-LAB$: РД 34.37.523.8-88. (03.08.2026 12:28:41)
Note on A28: DCS-LAB$: 3042779
Note on B28: DCS-LAB$: ЦЛК-Р-03. (08.09.2025 14:13:53)
Note on E28: DCS-LAB$: ОСТ 34-37-523.7-88. (08.09.2025 14:13:53)
Note on G28: DCS-LAB$: РД 34.37.523.8-88. (08.09.2025 14:13:53)
Note on A271: DCS-LAB$: 3389274
Note on A272: DCS-LAB$: 3388803
Note on K272: DCS-LAB$: МУК 4.2.3963-23. (04.08.2026 10:18:16)
Note on A273: DCS-LAB$: 3389958
Note on L273: DCS-LAB$: ФР.1.31.2016.23616. (04.08.2026 15:21:03)
Note on M273: DCS-LAB$: ФР.1.31.2016.23616. (04.08.2026 15:21:03)
Note on N273: DCS-LAB$: ФР.1.31.2016.23616. (04.08.2026 15:21:03)
Note on A274: DCS-LAB$: 3391005
Note on F274: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (05.08.2026 15:26:37)
Note on A275: DCS-LAB$: 3392099
Note on B275: DCS-LAB$: ЦЛК-Р-03. (06.08.2026 14:22:27)
Note on E275: DCS-LAB$: ОСТ 34-37-523.7-88. (06.08.2026 14:22:27)
Note on G275: DCS-LAB$: РД 34.37.523.8-88. (06.08.2026 14:22:27)
Note on A276: DCS-LAB$: 3396116
Note on B276: DCS-LAB$: ЦЛК-Р-03. (10.08.2026 15:50:45)
Note on E276: DCS-LAB$: ОСТ 34-37-523.7-88. (10.08.2026 15:50:45)
Note on G276: DCS-LAB$: РД 34.37.523.8-88. (10.08.2026 15:50:45)
Note on A277: DCS-LAB$: 3396384
Note on K277: DCS-LAB$: МУК 4.2.3963-23. (11.08.2026 12:29:24)
Note on A278: DCS-LAB$: 3397167
Note on L278: DCS-LAB$: ФР.1.31.2016.23616. (11.08.2026 14:49:27)
Note on M278: DCS-LAB$: ФР.1.31.2016.23616. (11.08.2026 14:49:27)
Note on N278: DCS-LAB$: ФР.1.31.2016.23616. (11.08.2026 14:49:27)
Note on A279: DCS-LAB$: 3398396
Note on F279: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (12.08.2026 14:27:06)
Note on A280: DCS-LAB$: 3399386
Note on B280: DCS-LAB$: ЦЛК-Р-03. (13.08.2026 12:09:52)
Note on E280: DCS-LAB$: ОСТ 34-37-523.7-88. (13.08.2026 13:35:40)
Note on G280: DCS-LAB$: РД 34.37.523.8-88. (13.08.2026 13:35:40)
Note on A29: DCS-LAB$: 3042983
Note on K29: DCS-LAB$: МУК 4.2.3963-23. (09.09.2025 11:00:13)
Note on A281: DCS-LAB$: 3403301
Note on B281: DCS-LAB$: ЦЛК-Р-03. (17.08.2026 13:02:09)
Note on E281: DCS-LAB$: ОСТ 34-37-523.7-88. (17.08.2026 13:02:09)
Note on G281: DCS-LAB$: РД 34.37.523.8-88. (17.08.2026 13:02:09)
Note on A282: DCS-LAB$: 3403554
Note on K282: DCS-LAB$: МУК 4.2.3963-23. (18.08.2026 10:50:51)
Note on A30: DCS-LAB$: 3043933
Note on L30: DCS-LAB$: ФР.1.31.2016.23616. (09.09.2025 14:09:46)
Note on M30: DCS-LAB$: ФР.1.31.2016.23616. (09.09.2025 14:09:46)
Note on N30: DCS-LAB$: ФР.1.31.2016.23616. (09.09.2025 14:09:46)
Note on A4: DCS-LAB$: 3006313
Note on K4: DCS-LAB$: МУК 4.2.3963-23. (05.08.2025 10:15:31)
Note on A31: DCS-LAB$: 3044908
Note on F31: DCS-LAB$: ПНД Ф 14.1:2.110-97. (10.09.2025 15:21:49)
Note on A32: DCS-LAB$: 3045919
Note on B32: DCS-LAB$: ЦЛК-Р-03. (11.09.2025 13:04:25)
Note on E32: DCS-LAB$: ОСТ 34-37-523.7-88. (11.09.2025 13:04:25)
Note on G32: DCS-LAB$: РД 34.37.523.8-88. (11.09.2025 13:04:25)
Note on A33: DCS-LAB$: 3049895
Note on B33: DCS-LAB$: ЦЛК-Р-03. (15.09.2025 12:17:52)
Note on E33: DCS-LAB$: ОСТ 34-37-523.7-88. (15.09.2025 12:17:52)
Note on G33: DCS-LAB$: РД 34.37.523.8-88. (15.09.2025 12:17:52)
Note on A34: DCS-LAB$: 3050057
Note on K34: DCS-LAB$: МУК 4.2.3963-23. (16.09.2025 10:37:49)
Note on A35: DCS-LAB$: 3050993
Note on L35: DCS-LAB$: ФР.1.31.2016.23616. (16.09.2025 13:57:10)
Note on M35: DCS-LAB$: ФР.1.31.2016.23616. (16.09.2025 13:57:10)
Note on N35: DCS-LAB$: ФР.1.31.2016.23616. (16.09.2025 13:57:10)
Note on A36: DCS-LAB$: 3052049
Note on F36: DCS-LAB$: ПНД Ф 14.1:2.110-97. (17.09.2025 14:48:15)
Note on A37: DCS-LAB$: 3053319
Note on B37: DCS-LAB$: ЦЛК-Р-03. (18.09.2025 18:45:37)
Note on E37: DCS-LAB$: ОСТ 34-37-523.7-88. (18.09.2025 18:45:37)
Note on G37: DCS-LAB$: РД 34.37.523.8-88. (18.09.2025 18:45:37)
Note on A38: DCS-LAB$: 3057228
Note on B38: DCS-LAB$: ЦЛК-Р-03. (22.09.2025 13:02:09)
Note on E38: DCS-LAB$: ОСТ 34-37-523.7-88. (22.09.2025 13:02:09)
Note on G38: DCS-LAB$: РД 34.37.523.8-88. (22.09.2025 13:02:09)
Note on A39: DCS-LAB$: 3057435
Note on K39: DCS-LAB$: МУК 4.2.3963-23. (23.09.2025 10:05:49)
Note on A40: DCS-LAB$: 3058396
Note on L40: DCS-LAB$: ФР.1.31.2016.23616. (23.09.2025 13:01:04)
Note on M40: DCS-LAB$: ФР.1.31.2016.23616. (23.09.2025 13:01:04)
Note on N40: DCS-LAB$: ФР.1.31.2016.23616. (23.09.2025 13:01:04)
Note on A5: DCS-LAB$: 3007170
Note on L5: DCS-LAB$: ФР.1.31.2016.23616. (05.08.2025 15:49:03)
Note on M5: DCS-LAB$: ФР.1.31.2016.23616. (05.08.2025 15:49:03)
Note on N5: DCS-LAB$: ФР.1.31.2016.23616. (05.08.2025 15:49:03)
Note on A41: DCS-LAB$: 3059440
Note on F41: DCS-LAB$: ПНД Ф 14.1:2.110-97. (24.09.2025 11:32:05)
Note on A42: DCS-LAB$: 3060389
Note on B42: DCS-LAB$: ЦЛК-Р-03. (25.09.2025 11:19:59)
Note on E42: DCS-LAB$: ОСТ 34-37-523.7-88. (25.09.2025 11:19:59)
Note on G42: DCS-LAB$: РД 34.37.523.8-88. (25.09.2025 11:19:59)
Note on A43: DCS-LAB$: 3064144
Note on B43: DCS-LAB$: ЦЛК-Р-03. (29.09.2025 11:33:30)
Note on E43: DCS-LAB$: ОСТ 34-37-523.7-88. (29.09.2025 11:33:30)
Note on G43: DCS-LAB$: РД 34.37.523.8-88. (29.09.2025 11:33:30)
Note on A44: DCS-LAB$: 3064359
Note on K44: DCS-LAB$: МУК 4.2.3963-23. (30.09.2025 10:20:06)
Note on A45: DCS-LAB$: 3065253
Note on L45: DCS-LAB$: ФР.1.31.2016.23616. (30.09.2025 15:13:00)
Note on M45: DCS-LAB$: ФР.1.31.2016.23616. (30.09.2025 15:13:00)
Note on N45: DCS-LAB$: ФР.1.31.2016.23616. (30.09.2025 15:13:00)
Note on A46: DCS-LAB$: 3066391
Note on F46: DCS-LAB$: ПНД Ф 14.1:2.110-97. (01.10.2025 14:34:01)
Note on H46: DCS-LAB$: ПНД Ф 14.1:2:4.132-98. (01.10.2025 13:50:19)
Note on A47: DCS-LAB$: 3067538
Note on B47: DCS-LAB$: ЦЛК-Р-03. (02.10.2025 13:57:36)
Note on E47: DCS-LAB$: ОСТ 34-37-523.7-88. (02.10.2025 13:57:36)
Note on G47: DCS-LAB$: РД 34.37.523.8-88. (02.10.2025 13:57:36)
Note on A48: DCS-LAB$: 3071011
Note on B48: DCS-LAB$: ЦЛК-Р-03. (06.10.2025 10:58:28)
Note on E48: DCS-LAB$: ОСТ 34-37-523.7-88. (06.10.2025 10:58:28)
Note on G48: DCS-LAB$: РД 34.37.523.8-88. (06.10.2025 10:58:28)
Note on A49: DCS-LAB$: 3071693
Note on A50: DCS-LAB$: 3071232
Note on K50: DCS-LAB$: МУК 4.2.3963-23. (07.10.2025 10:43:49)
Note on A6: DCS-LAB$: 3008210
Note on F6: DCS-LAB$: ПНД Ф 14.1:2.110-97. (06.08.2025 13:17:26)
Note on A51: DCS-LAB$: 3071981
Note on L51: DCS-LAB$: ФР.1.31.2016.23616. (07.10.2025 13:57:42)
Note on M51: DCS-LAB$: ФР.1.31.2016.23616. (07.10.2025 13:57:42)
Note on N51: DCS-LAB$: ФР.1.31.2016.23616. (07.10.2025 13:57:42)
Note on A52: DCS-LAB$: 3073042
Note on F52: DCS-LAB$: ПНД Ф 14.1:2.110-97. (08.10.2025 17:31:32)
Note on A53: DCS-LAB$: 3073912
Note on B53: DCS-LAB$: ЦЛК-Р-03. (09.10.2025 11:36:59)
Note on E53: DCS-LAB$: ОСТ 34-37-523.7-88. (09.10.2025 11:36:59)
Note on G53: DCS-LAB$: РД 34.37.523.8-88. (09.10.2025 11:36:59)
Note on A54: DCS-LAB$: 3076942
Note on B54: DCS-LAB$: ЦЛК-Р-03. (13.10.2025 13:31:59)
Note on E54: DCS-LAB$: ОСТ 34-37-523.7-88. (13.10.2025 13:31:59)
Note on G54: DCS-LAB$: РД 34.37.523.8-88. (13.10.2025 13:31:59)
Note on A55: DCS-LAB$: 3077202
Note on K55: DCS-LAB$: МУК 4.2.3963-23. (14.10.2025 9:58:46)
Note on A56: DCS-LAB$: 3077951
Note on L56: DCS-LAB$: ФР.1.31.2016.23616. (14.10.2025 13:08:34)
Note on M56: DCS-LAB$: ФР.1.31.2016.23616. (14.10.2025 13:08:34)
Note on N56: DCS-LAB$: ФР.1.31.2016.23616. (14.10.2025 13:08:34)
Note on A57: DCS-LAB$: 3079001
Note on F57: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (15.10.2025 15:07:08)
Note on A58: DCS-LAB$: 3079951
Note on B58: DCS-LAB$: ЦЛК-Р-03. (16.10.2025 11:23:36)
Note on E58: DCS-LAB$: ОСТ 34-37-523.7-88. (16.10.2025 12:17:34)
Note on G58: DCS-LAB$: РД 34.37.523.8-88. (16.10.2025 11:23:45)
Note on A59: DCS-LAB$: 3083443
Note on B59: DCS-LAB$: ЦЛК-Р-03. (20.10.2025 14:01:28)
Note on E59: DCS-LAB$: ОСТ 34-37-523.7-88. (20.10.2025 14:01:28)
Note on G59: DCS-LAB$: РД 34.37.523.8-88. (20.10.2025 14:01:28)
Note on A60: DCS-LAB$: 3083668
Note on K60: DCS-LAB$: МУК 4.2.3963-23. (21.10.2025 10:37:43)
Note on A7: DCS-LAB$: 3009428
Note on B7: DCS-LAB$: ЦЛК-Р-03. (07.08.2025 13:37:10)
Note on E7: DCS-LAB$: ОСТ 34-37-523.7-88. (07.08.2025 13:37:10)
Note on G7: DCS-LAB$: РД 34.37.523.8-88. (07.08.2025 13:37:10)
Note on A61: DCS-LAB$: 3084389
Note on L61: DCS-LAB$: ФР.1.31.2016.23616. (21.10.2025 13:22:35)
Note on M61: DCS-LAB$: ФР.1.31.2016.23616. (21.10.2025 13:22:35)
Note on N61: DCS-LAB$: ФР.1.31.2016.23616. (21.10.2025 13:22:35)
Note on A62: DCS-LAB$: 3085505
Note on F62: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (22.10.2025 14:46:39)
Note on A63: DCS-LAB$: 3086564
Note on B63: DCS-LAB$: ЦЛК-Р-03. (23.10.2025 19:17:37)
Note on E63: DCS-LAB$: ОСТ 34-37-523.7-88. (23.10.2025 19:17:37)
Note on G63: DCS-LAB$: РД 34.37.523.8-88. (23.10.2025 19:17:37)
Note on A64: DCS-LAB$: 3090390
Note on B64: DCS-LAB$: ЦЛК-Р-03. (27.10.2025 15:05:44)
Note on E64: DCS-LAB$: ОСТ 34-37-523.7-88. (27.10.2025 15:05:44)
Note on G64: DCS-LAB$: РД 34.37.523.8-88. (27.10.2025 15:05:44)
Note on A65: DCS-LAB$: 3090600
Note on K65: DCS-LAB$: МУК 4.2.3963-23. (28.10.2025 10:35:53)
Note on A66: DCS-LAB$: 3091456
Note on L66: DCS-LAB$: ФР.1.31.2016.23616. (28.10.2025 15:45:16)
Note on M66: DCS-LAB$: ФР.1.31.2016.23616. (28.10.2025 15:45:16)
Note on N66: DCS-LAB$: ФР.1.31.2016.23616. (28.10.2025 15:45:16)
Note on A67: DCS-LAB$: 3092546
Note on F67: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (29.10.2025 14:16:07)
Note on A68: DCS-LAB$: 3093661
Note on B68: DCS-LAB$: ЦЛК-Р-03. (30.10.2025 13:21:46)
Note on E68: DCS-LAB$: ОСТ 34-37-523.7-88. (30.10.2025 13:21:46)
Note on G68: DCS-LAB$: РД 34.37.523.8-88. (30.10.2025 13:21:46)
Note on A69: DCS-LAB$: 3097858
Note on B69: DCS-LAB$: ЦЛК-Р-03. (03.11.2025 12:52:08)
Note on E69: DCS-LAB$: ОСТ 34-37-523.7-88. (03.11.2025 12:52:08)
Note on G69: DCS-LAB$: РД 34.37.523.8-88. (03.11.2025 12:52:08)
Note on A70: DCS-LAB$: 3098079
Note on K70: DCS-LAB$: МУК 4.2.3963-23. (04.11.2025 9:54:57)
Note on A8: DCS-LAB$: 3013137
Note on B8: DCS-LAB$: ЦЛК-Р-03. (11.08.2025 14:08:50)
Note on E8: DCS-LAB$: ОСТ 34-37-523.7-88. (11.08.2025 14:08:50)
Note on G8: DCS-LAB$: РД 34.37.523.8-88. (11.08.2025 14:08:50)
Note on A71: DCS-LAB$: 3098732
Note on L71: DCS-LAB$: ФР.1.31.2016.23616. (04.11.2025 13:09:20)
Note on M71: DCS-LAB$: ФР.1.31.2016.23616. (04.11.2025 13:09:20)
Note on N71: DCS-LAB$: ФР.1.31.2016.23616. (04.11.2025 13:09:20)
Note on A72: DCS-LAB$: 3099645
Note on F72: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (05.11.2025 14:50:03)
Note on A73: DCS-LAB$: 3100771
Note on B73: DCS-LAB$: ЦЛК-Р-03. (06.11.2025 14:02:35)
Note on E73: DCS-LAB$: ОСТ 34-37-523.7-88. (06.11.2025 14:02:35)
Note on G73: DCS-LAB$: РД 34.37.523.8-88. (06.11.2025 14:02:35)
Note on A74: DCS-LAB$: 3104350
Note on B74: DCS-LAB$: ЦЛК-Р-03. (10.11.2025 14:39:04)
Note on E74: DCS-LAB$: ОСТ 34-37-523.7-88. (10.11.2025 14:39:04)
Note on G74: DCS-LAB$: РД 34.37.523.8-88. (10.11.2025 14:39:04)
Note on A75: DCS-LAB$: 3104580
Note on K75: DCS-LAB$: МУК 4.2.3963-23. (11.11.2025 10:20:53)
Note on A76: DCS-LAB$: 3105746
Note on L76: DCS-LAB$: ФР.1.31.2016.23616. (11.11.2025 15:01:49)
Note on M76: DCS-LAB$: ФР.1.31.2016.23616. (11.11.2025 15:01:49)
Note on N76: DCS-LAB$: ФР.1.31.2016.23616. (11.11.2025 15:01:49)
Note on A77: DCS-LAB$: 3108178
Note on F77: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (12.11.2025 15:26:49)
Note on A78: DCS-LAB$: 3109472
Note on B78: DCS-LAB$: ЦЛК-Р-03. (13.11.2025 14:21:47)
Note on E78: DCS-LAB$: ОСТ 34-37-523.7-88. (13.11.2025 14:21:47)
Note on G78: DCS-LAB$: РД 34.37.523.8-88. (13.11.2025 14:21:47)
Note on A79: DCS-LAB$: 3113446
Note on B79: DCS-LAB$: ЦЛК-Р-03. (17.11.2025 14:05:24)
Note on E79: DCS-LAB$: ОСТ 34-37-523.7-88. (17.11.2025 14:05:24)
Note on G79: DCS-LAB$: РД 34.37.523.8-88. (17.11.2025 14:05:24)
Note on A80: DCS-LAB$: 3113666
Note on K80: DCS-LAB$: МУК 4.2.3963-23. (18.11.2025 10:27:36)
Note on A9: DCS-LAB$: 3013350
Note on K9: DCS-LAB$: МУК 4.2.3963-23. (12.08.2025 10:45:30)
Note on A81: DCS-LAB$: 3114755
Note on L81: DCS-LAB$: ФР.1.31.2016.23616. (18.11.2025 14:01:53)
Note on M81: DCS-LAB$: ФР.1.31.2016.23616. (18.11.2025 14:01:53)
Note on N81: DCS-LAB$: ФР.1.31.2016.23616. (18.11.2025 14:01:53)
Note on A82: DCS-LAB$: 3116020
Note on F82: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (19.11.2025 14:28:12)
Note on A83: DCS-LAB$: 3117544
Note on B83: DCS-LAB$: ЦЛК-Р-03. (20.11.2025 12:07:43)
Note on E83: DCS-LAB$: ОСТ 34-37-523.7-88. (20.11.2025 12:07:43)
Note on G83: DCS-LAB$: РД 34.37.523.8-88. (20.11.2025 12:07:43)
Note on A84: DCS-LAB$: 3121773
Note on B84: DCS-LAB$: ЦЛК-Р-03. (24.11.2025 10:56:36)
Note on E84: DCS-LAB$: ОСТ 34-37-523.7-88. (24.11.2025 10:56:36)
Note on G84: DCS-LAB$: РД 34.37.523.8-88. (24.11.2025 10:56:36)
Note on A85: DCS-LAB$: 3122009
Note on K85: DCS-LAB$: МУК 4.2.3963-23. (25.11.2025 10:26:05)
Note on A86: DCS-LAB$: 3123079
Note on L86: DCS-LAB$: ФР.1.31.2016.23616. (25.11.2025 14:01:09)
Note on M86: DCS-LAB$: ФР.1.31.2016.23616. (25.11.2025 14:01:09)
Note on N86: DCS-LAB$: ФР.1.31.2016.23616. (25.11.2025 14:01:09)
Note on A87: DCS-LAB$: 3124527
Note on F87: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (26.11.2025 14:35:44)
Note on A88: DCS-LAB$: 3126118
Note on B88: DCS-LAB$: ЦЛК-Р-03. (27.11.2025 15:06:04)
Note on E88: DCS-LAB$: ОСТ 34-37-523.7-88. (27.11.2025 15:06:04)
Note on G88: DCS-LAB$: РД 34.37.523.8-88. (27.11.2025 15:06:04)
Note on A89: DCS-LAB$: 3130830
Note on B89: DCS-LAB$: ЦЛК-Р-03. (01.12.2025 14:39:36)
Note on E89: DCS-LAB$: ОСТ 34-37-523.7-88. (01.12.2025 14:39:36)
Note on G89: DCS-LAB$: РД 34.37.523.8-88. (01.12.2025 14:39:36)
Note on A90: DCS-LAB$: 3131474
Note on A10: DCS-LAB$: 3014291
Note on L10: DCS-LAB$: ФР.1.31.2016.23616. (12.08.2025 13:56:13)
Note on M10: DCS-LAB$: ФР.1.31.2016.23616. (12.08.2025 13:56:13)
Note on N10: DCS-LAB$: ФР.1.31.2016.23616. (12.08.2025 13:56:13)
Note on A91: DCS-LAB$: 3131068
Note on K91: DCS-LAB$: МУК 4.2.3963-23. (02.12.2025 11:02:29)
Note on A92: DCS-LAB$: 3132055
Note on L92: DCS-LAB$: ФР.1.31.2016.23616. (02.12.2025 12:08:48)
Note on M92: DCS-LAB$: ФР.1.31.2016.23616. (02.12.2025 12:08:48)
Note on N92: DCS-LAB$: ФР.1.31.2016.23616. (02.12.2025 12:08:48)
Note on A93: DCS-LAB$: 3133437
Note on F93: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (03.12.2025 14:49:32)
Note on A94: DCS-LAB$: 3134744
Note on B94: DCS-LAB$: ЦЛК-Р-03. (04.12.2025 15:40:25)
Note on E94: DCS-LAB$: ОСТ 34-37-523.7-88. (04.12.2025 12:35:38)
Note on G94: DCS-LAB$: РД 34.37.523.8-88. (04.12.2025 12:35:38)
Note on A95: DCS-LAB$: 3138817
Note on B95: DCS-LAB$: ЦЛК-Р-03. (08.12.2025 15:51:24)
Note on E95: DCS-LAB$: ОСТ 34-37-523.7-88. (08.12.2025 15:51:24)
Note on G95: DCS-LAB$: РД 34.37.523.8-88. (08.12.2025 15:51:24)
Note on A96: DCS-LAB$: 3139059
Note on K96: DCS-LAB$: МУК 4.2.3963-23. (09.12.2025 11:12:50)
Note on A97: DCS-LAB$: 3140169
Note on L97: DCS-LAB$: ФР.1.31.2016.23616. (09.12.2025 13:42:35)
Note on M97: DCS-LAB$: ФР.1.31.2016.23616. (09.12.2025 13:42:35)
Note on N97: DCS-LAB$: ФР.1.31.2016.23616. (09.12.2025 13:42:35)
Note on A98: DCS-LAB$: 3141360
Note on F98: DCS-LAB$: ПНД Ф 14.1:2:3.110-97. (10.12.2025 16:09:23)
Note on A99: DCS-LAB$: 3142636
Note on B99: DCS-LAB$: ЦЛК-Р-03. (11.12.2025 15:32:49)
Note on E99: DCS-LAB$: ОСТ 34-37-523.7-88. (11.12.2025 15:32:49)
Note on G99: DCS-LAB$: РД 34.37.523.8-88. (11.12.2025 14:43:53)
Note on A100: DCS-LAB$: 3146951
Note on B100: DCS-LAB$: ЦЛК-Р-03. (15.12.2025 14:03:54)
Note on E100: DCS-LAB$: ОСТ 34-37-523.7-88. (15.12.2025 14:45:54)
Note on G100: DCS-LAB$: РД 34.37.523.8-88. (15.12.2025 14:45:54)

## abbr
rdate
ph | pH of water
ec | Electroconductivity of water
tds | Total dissolved solids, usually they measure ec and calculate tds = ec*k, where k is constant
alk | Total alkalinity, affects on pH in cooling tower, and carbonate scale
tss | Total suspended solids - more - more potential for fouling, fouling is usually not measured
ca_caco3 | Ca concentration as CaCO3 (1 mmol/l Ca = 2 meq/l Ca = 40 ppm Ca as Ca = 100 ppm Ca as CaCO3)
cl | Cl - concentration of chloride ion
toc | Total organic carbon as ppm C (usually calculated from COD)
cod | Total organic content (sometimes as O2, measured by oxidation with K2Cr2O7, amount of K2Cr2O7 is calculated to O2)
tvc | Total viable count - contamination by bacterial cells
po4_tot | Total Phosphorous content (expressed as PO4 ions) - all forms of phosphorous is oxidated to PO4 and measured PO4 concentration
po4_orto | Ortophosphate - direct determination of PO4
po4_org | PO4 organic = po4_tot - po4_orto
operator_name | Name of operator who did analysis
Usually organic PO4 - scale inhibitor; Sometimes ortophosphate is corrosion inhibitor