## S2CT2
rdate | t_cold | t_hot | ec_mu | mu | bd_c | rr_c1 | rr_c2
2025-07-01 | 19.3872 | 23.5387 | 311.8376 | 14.2855 | 10.0073 | 1632.645 | 1831.4137
2025-07-02 | 19.3267 | 23.4815 | 315.6728 | 12.8707 | 10.0311 | 1645.7352 | 1821.3527
2025-07-03 | 19.3177 | 23.2401 | 317.3832 | 20.6899 | 10.9379 | 1584.3787 | 1822.4677
2025-07-04 | 19.5702 | 23.5686 | 327.1574 | 40.7844 | 39.4583 | 1622.2096 | 1803.9723
2025-07-05 | 20.1156 | 24.1594 | 332.1653 | 46.0529 | 44.3214 | 1610.9334 | 1817.7519
2025-07-06 | 19.2005 | 23.0275 | 339.8986 | 23.4017 | 22.1607 | 1640.389 | 1847.9562
2025-07-07 | 19.6878 | 23.5802 | 342.5738 | 35.9814 | 35.3729 | 1620.8873 | 1843.2768
2025-07-08 | 20.8911 | 24.8423 | 340.5356 | 21.702 | 17.8724 | 1577.0268 | 1841.094
2025-07-09 | 22.9019 | 26.9336 | 338.6891 | 26.7588 | 13.9813 | 1598.7738 | 1837.2312
2025-07-10 | 23.8933 | 27.9489 | 344.9871 | 40.2923 | 15.2693 | 1607.7393 | 1782.3044
2025-07-11 | 23.5835 | 27.6758 | 350.292 | 38.0023 | 13.7679 | 1634.0075 | 1780.7188
2025-07-12 | 19.9635 | 24.1303 | 354.0076 | 33.7077 | 9.0559 | 1660.5874 | 1855.017
2025-07-13 | 19.3209 | 23.4049 | 357.139 | 33.4309 | 9.3721 | 1657.4189 | 1862.1335
2025-07-14 | 19.3264 | 23.5071 | 356.639 | 32.2275 | 8.5559 | 1634.9832 | 1870.1133
2025-07-15 | 19.6868 | 23.7931 | 352.0572 | 30.7478 | 6.7436 | 1626.5686 | 1871.2326
2025-07-16 | 19.1625 | 23.1893 | 348.3209 | 28.6804 | 7.4898 | 1629.6596 | 1884.1023
2025-07-17 | 19.3856 | 23.9266 | 346.945 | 33.522 | 6.6435 | 1627.4066 | 1867.9614
2025-07-18 | 19.2201 | 23.5736 | 348.4155 | 29.0749 | 7.2332 | 1631.2212 | 1883.5245
2025-07-19 | 19.018 | 23.4868 | 348.2158 | 29.5442 | 7.1068 | 1620.7238 | 1887.062
2025-07-20 | 19.5543 | 24.0809 | 346.7425 | 33.3257 | 6.8053 | 1619.5689 | 1864.4855
2025-07-21 | 20.5924 | 25.1748 | 344.469 | 34.5978 | 6.559 | 1617.3918 | 1826.731
2025-07-22 | 22.2665 | 26.7722 | 343.6244 | 34.1447 | 6.8529 | 1616.8842 | 1803.727
2025-07-23 | 22.176 | 26.6155 | 339.6906 | 29.1416 | 6.3503 | 1614.0422 | 1874.9549
2025-07-24 | 22.0164 | 26.4884 | 330.4449 | 28.7377 | 6.7048 | 1612.2345 | 1815.7013
2025-07-25 | 20.4331 | 25.0433 | 324.8899 | 31.0387 | 7.2053 | 1611.5394 | 1852.0791
2025-07-26 | 19.1892 | 23.5726 | 326.9422 | 27.3993 | 7.0921 | 1627.482 | 1888.6284
2025-07-27 | 19.4388 | 23.915 | 338.6512 | 29.097 | 7.1 | 1619.9637 | 1848.9292
2025-07-28 | 19.9231 | 24.5238 | 344.8876 | 31.9595 | 6.8198 | 1615.7018 | 1832.9052
2025-07-29 | 20.7902 | 25.4435 | 349.3994 | 34.5991 | 7.0357 | 1611.8675 | 1813.4187
2025-07-30 | 20.5895 | 25.3602 | 350.0077 | 35.8431 | 6.7134 | 1611.8802 | 1827.1619
2025-07-31 | 19.9965 | 24.657 | 351.4769 | 33.214 | 7.4389 | 1612.8512 | 1826.1994
2025-08-01 | 21.6118 | 26.326 | 345.5701 | 36.3436 | 9.3036 | 1611.25 | 1857.1489
2025-08-02 | 21.3546 | 26.1878 | 335.0201 | 41.0505 | 10.0957 | 1611.3643 | 1870.4177
2025-08-03 | 21.3998 | 26.1491 | 328.8888 | 40.6081 | 10.0532 | 1610.085 | 1875.2254
2025-08-04 | 21.8963 | 26.6309 | 327.509 | 40.5665 | 9.9811 | 1614.4446 | 1905.1793
2025-08-05 | 22.9239 | 27.5538 | 326.9269 | 36.8579 | 9.5216 | 1618.0152 | 1925.8463
2025-08-06 | 22.6198 | 27.0659 | 326.0118 | 31.5293 | 9.6076 | 1600.6119 | 1844.1413
2025-08-07 | 23.0619 | 27.5513 | 321.155 | 32.7823 | 9.6242 | 1592.1838 | 1869.4931
2025-08-08 | 22.2764 | 26.7291 | 316.3086 | 30.9713 | 10.0237 | 1607.0267 | 1855.0681
2025-08-09 | 19.5211 | 24.025 | 314.8067 | 31.7959 | 8.4171 | 1639.6303 | 1850.8165
2025-08-10 | 19.5324 | 23.9712 | 313.0588 | 29.204 | 7.7293 | 1604.3343 | 1870.3431
2025-08-11 | 19.7926 | 24.0171 | 312.1915 | 25.915 | 7.83 | 1576.308 | 1819.7868
2025-08-12 | 19.7238 | 24.0994 | 313.4415 | 41.704 | 21.9045 | 1599.6021 | 1803.9473
2025-08-13 | 19.9878 | 24.4421 | 318.2187 | 23.0748 | 0.24521 | 1648.6654 | 1833.8861
2025-08-14 | 19.8804 | 24.2504 | 316.1224 | 25.133 | 5.0527 | 1649.1439 | 1849.2596
2025-08-15 | 19.7397 | 24.1181 | 314.677 | 26.8622 | 6.1089 | 1629.0486 | 1813.3994
2025-08-16 | 19.4742 | 23.8624 | 318.7228 | 26.3789 | 5.7003 | 1633.2813 | 1840.9
2025-08-17 | 19.6763 | 24.1102 | 323.2344 | 27.8665 | 5.3192 | 1626.3772 | 1827.5473
2025-08-18 | 20.3527 | 24.7592 | 325.1305 | 27.0729 | 5.0174 | 1610.9843 | 1843.7446
2025-08-19 | 19.4897 | 23.6449 | 329.603 | 23.9559 | 5.6091 | 1592.3256 | 1842.1888
2025-08-20 | 19.4147 | 23.522 | 334.4595 | 23.4611 | 5.1451 | 1630.347 | 1840.6674
2025-08-21 | 19.5947 | 23.8651 | 334.6994 | 26.4857 | 5.4193 | 1657.5925 | 1838.1541
2025-08-22 | 19.5753 | 23.8418 | 345.1999 | 26.1947 | 5.0502 | 1636.8869 | 1856.3349
2025-08-23 | 20.1878 | 24.5636 | 351.7745 | 30.5148 | 5.4027 | 1637.9583 | 1869.1062
2025-08-24 | 20.5362 | 25.1546 | 352.0797 | 35.3281 | 5.5086 | 1636.9556 | 1916.9019
2025-08-25 | 19.6642 | 24.0583 | 353.6344 | 28.0932 | 5.7554 | 1635.1395 | 1935.9468
2025-08-26 | 19.3951 | 23.673 | 351.5972 | 29.4279 | 9.0404 | 1635.7222 | 1931.8924
2025-08-27 | 19.3134 | 23.5309 | 347.7669 | 28.0992 | 8.911 | 1636.2878 | 1897.6986
2025-08-28 | 18.8902 | 23.1215 | 344.4532 | 28.6005 | 9.3442 | 1641.9725 | 1830.0913
2025-08-29 | 18.8906 | 23.12 | 342.2229 | 27.5553 | 8.2281 | 1637.2976 | 1844.8426
2025-08-30 | 19.0713 | 23.2671 | 342.4285 | 27.0245 | 7.9469 | 1633.3578 | 1830.5196
2025-08-31 | 20.6643 | 25.1662 | 340.0761 | 32.7834 | 7.5841 | 1613.2093 | 1842.0154
2025-09-01 | 20.5258 | 24.8921 | 336.9821 | 29.8824 | 7.1622 | 1631.2618 | 1872.2583
2025-09-02 | 20.3281 | 24.7722 | 333.2462 | 32.277 | 6.0065 | 1631.3275 | 1829.355
2025-09-03 | 19.477 | 23.7816 | 337.7752 | 27.1315 | 6.4993 | 1632.975 | 1844.5723
2025-09-04 | 19.49 | 23.6817 | 343.065 | 25.1308 | 6.4959 | 1631.9774 | 1812.1175
2025-09-05 | 19.6521 | 23.7535 | 345.9024 | 24.9513 | 6.0859 | 1615.1773 | 1815.1241
2025-09-06 | 19.9668 | 24.2967 | 349.1419 | 28.7036 | 7.1103 | 1629.8618 | 1843.141
2025-09-07 | 19.5708 | 23.8489 | 356.7625 | 27.2372 | 6.6978 | 1632.2878 | 1897.4147
2025-09-08 | 19.5003 | 23.9131 | 358.0838 | 28.4559 | 6.9051 | 1632.5363 | 1908.9048
2025-09-09 | 19.4091 | 23.2677 | 360.7722 | 25.4497 | 6.9491 | 1634.3369 | 1899.7487
2025-09-10 | 19.5386 | 23.6219 | 366.9644 | 25.9667 | 6.7011 | 1635.6757 | 1903.2067
2025-09-11 | 18.9875 | 22.9755 | 373.7903 | 24.6046 | 6.1683 | 1634.2063 | 1840.8482
2025-09-12 | 19.6002 | 23.3638 | 367.5545 | 25.0396 | 4.2509 | 1633.385 | 1867.5954
2025-09-13 | 19.3574 | 23.4065 | 366.7375 | 27.0927 | 4.0417 | 1633.9788 | 1903.4335
2025-09-14 | 19.5956 | 23.7513 | 361.6841 | 28.0763 | 4.1414 | 1634.371 | 1906.7891
2025-09-15 | 19.5115 | 23.7735 | 359.7968 | 27.1422 | 4.5819 | 1636.8305 | 1904.0701
2025-09-16 | 19.5123 | 23.5335 | 360.9394 | 28.8375 | 4.5277 | 1634.1084 | 1901.717
2025-09-17 | 19.6016 | 23.7305 | 358.2997 | 29.7091 | 4.3188 | 1633.7178 | 1898.4124
2025-09-18 | 19.6042 | 23.8795 | 351.742 | 30.3306 | 4.0095 | 1634.0949 | 1896.6644
2025-09-19 | 19.384 | 23.7062 | 357.9119 | 31.3993 | 4.3395 | 1632.6258 | 1897.6182
2025-09-20 | 18.7944 | 23.24 | 359.2548 | 31.7968 | 4.2671 | 1630.7118 | 1891.5253
2025-09-21 | 19.3073 | 23.6673 | 362.0504 | 26.3126 | 4.7919 | 1629.1456 | 1889.06
2025-09-22 | 19.6459 | 24.1292 | 361.8203 | 24.1185 | 3.1648 | 1632.178 | 1902.0233
2025-09-23 | 19.989 | 24.7775 | 366.1968 | 31.1807 | 5.0503 | 1632.4371 | 1889.3781
2025-09-24 | 19.2624 | 23.7489 | 369.9937 | 25.137 | 4.9153 | 1634.4037 | 1894.6687
2025-09-25 | 19.3646 | 23.3566 | 368.1576 | 22.5957 | 4.5036 | 1635.9678 | 1889.3191
2025-09-26 | 19.4911 | 23.8263 | 368.7809 | 24.352 | 3.8069 | 1638.7703 | 1881.6384
2025-09-27 | 19.2383 | 23.528 | 369.1712 | 22.1526 | 2.485 | 1635.4896 | 1850.1114
2025-09-28 | 19.2067 | 23.3318 | 366.2128 | 22.8836 | 2.3977 | 1634.9249 | 1868.3955
2025-09-29 | 18.4118 | 22.4849 | 364.3465 | 24.0439 | 2.536 | 1632.8584 | 1888.5128
2025-09-30 | 18.2188 | 22.7075 | 363.4273 | 25.0124 | 1.1389 | 1631.1185 | 1882.3272
2025-10-01 | 18.7052 | 23.266 | 354.9941 | 23.0141 | 0.27651 | 1633.4342 | 1877.5894
2025-10-02 | 18.9835 | 23.2285 | 350.2718 | 22.3684 | 0.20617 | 1632.2541 | 1894.4509
2025-10-03 | 19.597 | 23.8228 | 364.2028 | 24.8075 | 1.6685 | 1633.977 | 1894.6072
2025-10-04 | 19.3854 | 23.1876 | 370.1788 | 25.1495 | 2.9861 | 1626.7703 | 1889.4825
2025-10-05 | 19.2553 | 22.7411 | 365.4284 | 26.3695 | 2.954 | 1612.1614 | 1872.251
2025-10-06 | 19.4464 | 22.8592 | 363.2927 | 25.0137 | 2.6718 | 1636.1454 | 1903.4601
2025-10-07 | 18.9871 | 22.3854 | 363.8724 | 23.0968 | 1.2655 | 1627.6031 | 1902.4418
2025-10-08 | 19.1062 | 22.6016 | 363.7069 | 23.876 | 1.0569 | 1615.985 | 1923.6105
2025-10-09 | 18.8077 | 22.8532 | 359.8173 | 42.5425 | 21.7733 | 1614.2338 | 1918.0004
2025-10-10 | 19.7826 | 23.843 | 356.0793 | 29.2235 | 0.53515 | 1611.6534 | 1908.7601
2025-10-11 | 19.7016 | 23.4721 | 354.7895 | 26.9754 | 0.84197 | 1626.768 | 1934.8062
2025-10-12 | 19.2763 | 23.1058 | 356.5466 | 21.6915 | 0.74097 | 1619.9231 | 1925.8536
2025-10-13 | 19.2095 | 23.148 | 358.9989 | 22.6888 | 0.67936 | 1609.5802 | 1915.2696
2025-10-14 | 19.0165 | 22.9587 | 359.7993 | 23.6111 | 0.65488 | 1648.242 | 1935.6233
2025-10-15 | 18.9874 | 23.087 | 358.7289 | 25.3151 | 0.6421 | 1680.6114 | 1930.9862
2025-10-16 | 18.8839 | 22.9587 | 356.6295 | 23.962 | 0.63799 | 1690.2046 | 1856.1834
2025-10-17 | 18.7887 | 22.8432 | 356.2481 | 19.3157 | 0.6357 | 1696.2111 | 1913.9838
2025-10-18 | 19.2903 | 23.3387 | 359.1129 | 19.2934 | 0.61408 | 1658.7645 | 1845.1461
2025-10-19 | 19.2445 | 23.2832 | 362.0312 | 19.7672 | 0.61081 | 1675.2809 | 1894.4634
2025-10-20 | 18.6986 | 22.7261 | 361.7699 | 19.3238 | 0.59804 | 1693.4597 | 1902.2945
2025-10-21 | 19.1161 | 23.2446 | 365.2293 | 20.6582 | 0.59867 | 1696.6582 | 1899.5138
2025-10-22 | 19.4948 | 23.623 | 372.4191 | 20.5442 | 0.6014 | 1698.1497 | 1897.317
2025-10-23 | 19.2408 | 23.3896 | 371.1714 | 19.943 | 0.5996 | 1683.3484 | 1869.7985
2025-10-24 | 18.2375 | 22.429 | 366.5193 | 16.0624 | 8.0799 | 1708.8086 | 1875.1004
2025-10-25 | 18.1556 | 22.2687 | 371.1731 | 39.908 | 11.7436 | 1662.6462 | 1829.3326
2025-10-26 | 19.0713 | 23.295 | 379.399 | 19.7181 | 0.47623 | 1669.2244 | 1962.8048
2025-10-27 | 19.6083 | 23.8169 | 384.5992 | 19.9463 | 12.5821 | 1639.013 | 1906.8835
2025-10-28 | 19.5668 | 23.6876 | 392.1822 | 42.3366 | 14.1065 | 1623.1215 | 1790.2075
2025-10-29 | 19.5982 | 23.8403 | 401.8917 | 20.2309 | 0.84189 | 1657.487 | 1835.6854
2025-10-30 | 19.5289 | 23.6811 | 398.5116 | 19.199 | 0.807 | 1663.4335 | 1860.5282
2025-10-31 | 18.9299 | 23.1143 | 396.0389 | 18.9904 | 0.77907 | 1665.7556 | 1946.5055
2025-11-01 | 18.4592 | 22.6625 | 397.0854 | 18.9395 | 0.76008 | 1665.8324 | 1945.2473
2025-11-02 | 18.1574 | 22.4224 | 401.9394 | 18.1364 | 0.74492 | 1664.7981 | 1941.1716
2025-11-03 | 19.1327 | 23.3547 | 405.7523 | 17.8133 | 0.74213 | 1671.5882 | 1933.3854
2025-11-04 | 18.6068 | 22.7154 | 406.7771 | 17.34 | 0.73896 | 1665.4966 | 1939.0577
2025-11-05 | 19.2045 | 23.3907 | 415.0803 | 18.4994 | 0.69346 | 1660.0941 | 1822.5283
2025-11-06 | 19.2157 | 23.3633 | 420.5425 | 18.5674 | 0.64287 | 1651.3881 | 1832.6937
2025-11-07 | 19.1666 | 23.262 | 425.9579 | 18.5433 | 0.59977 | 1639.9245 | 1803.4861
2025-11-08 | 19.0152 | 22.8316 | 430.705 | 18.1564 | 0.59105 | 1630.926 | 1806.8601
2025-11-09 | 18.2064 | 22.1445 | 438.0564 | 17.3981 | 0.57944 | 1655.3271 | 1835.4687
2025-11-10 | 18.2593 | 21.8685 | 437.6106 | 15.8773 | 0.57466 | 1645.906 | 1866.6394
2025-11-11 | 18.4193 | 21.7653 | 440.2288 | 14.3978 | 0.68545 | 1638.0279 | 1793.9578
2025-11-12 | 19.4381 | 22.4787 | 443.034 | 13.5164 | 0.69764 | 1664.7067 | 1896.0105
2025-11-13 | 19.0597 | 22.5614 | 445.8304 | 13.9834 | 0.68328 | 1658.9324 | 1930.0802
2025-11-14 | 19.2345 | 23.6225 | 449.1103 | 18.1541 | 0.66983 | 1657.6136 | 1932.5082
2025-11-15 | 19.1461 | 23.258 | 451.1724 | 16.4777 | 0.66077 | 1646.078 | 1870.2472
2025-11-16 | 18.8933 | 22.8971 | 453.0365 | 16.0563 | 0.64664 | 1651.3289 | 1822.3319
2025-11-17 | 20.5918 | 24.379 | 452.8273 | 15.5348 | 1.1844 | 1674.2254 | 1849.8482
2025-11-18 | 19.1263 | 23.3225 | 453.458 | 18.4392 | 2.616 | 1650.5847 | 1827.6357
2025-11-19 | 19.1141 | 23.1196 | 454.6158 | 18.7301 | 2.825 | 1645.8175 | 1837.3811
2025-11-20 | 18.4665 | 22.6572 | 457.9088 | 18.3388 | 2.8725 | 1667.6893 | 1840.5155
2025-11-21 | 18.3915 | 22.5087 | 467.0861 | 17.1593 | 2.5104 | 1668.5895 | 1820.1186
2025-11-22 | 19.6339 | 23.7957 | 486.8137 | 19.5683 | 4.4141 | 1636.5849 | 1815.3057
2025-11-23 | 19.1487 | 23.3033 | 503.019 | 18.5276 | 3.748 | 1631.4925 | 1823.0198
2025-11-24 | 19.304 | 23.4043 | 500.6803 | 17.5529 | 2.5271 | 1664.7155 | 1837.2412
2025-11-25 | 19.7499 | 23.9798 | 497.8361 | 19.995 | 4.7153 | 1651.1349 | 1819.6902
2025-11-26 | 19.353 | 23.5045 | 508.1341 | 16.4178 | 1.4144 | 1656.5023 | 1924.1943
2025-11-27 | 19.3395 | 23.5941 | 519.0627 | 15.7953 | 0.36735 | 1655.4055 | 1888.5517
2025-11-28 | 19.4284 | 23.493 | 519.0774 | 16.1629 | 1.6237 | 1641.1098 | 1822.346
2025-11-29 | 19.7568 | 23.9942 | 513.4146 | 23.7962 | 9.2215 | 1640.4315 | 1817.4271
2025-11-30 | 19.7317 | 23.9953 | 498.0968 | 25.5873 | 10.8508 | 1654.3459 | 1816.2013
2025-12-01 | 19.5143 | 23.7951 | 489.662 | 21.1677 | 6.0749 | 1649.6862 | 1798.5513
2025-12-02 | 19.2226 | 23.4646 | 469.7001 | 23.6843 | 9.1664 | 1652.3941 | 1806.5005
2025-12-03 | 19.3366 | 23.5119 | 468.7358 | 23.2348 | 9.0043 | 1641.7062 | 1799.4661
2025-12-04 | 18.5997 | 23.2015 | 470.2879 | 35.9349 | 23.1924 | 1643.5979 | 1898.697
2025-12-05 | 19.0477 | 23.3351 | 473.7176 | 18.8031 | 4.0583 | 1641.6344 | 1935.3995
2025-12-06 | 18.8214 | 23.0674 | 480.7867 | 21.6917 | 7.5377 | 1631.7636 | 1937.392
2025-12-07 | 19.859 | 24.0402 | 475.7591 | 20.5397 | 6.3459 | 1623.3887 | 1925.7893
2025-12-08 | 19.3638 | 23.0735 | 471.0222 | 19.2258 | 5.9903 | 1632.3495 | 1927.8952
2025-12-09 | 19.0289 | 23.0149 | 474.8147 | 18.5854 | 5.2105 | 1640.1992 | 1942.1622
2025-12-10 | 18.9977 | 22.9622 | 480.02 | 19.5959 | 6.189 | 1642.9292 | 1957.5784
2025-12-11 | 19.3102 | 23.239 | 480.3424 | 18.6364 | 5.6315 | 1630.592 | 1961.6048
2025-12-12 | 19.5417 | 23.6228 | 496.4314 | 19.0632 | 4.9836 | 1627.1338 | 1859.8022
2025-12-13 | 18.4425 | 22.3742 | 506.311 | 18.6199 | 5.5399 | 1596.4804 | 1819.8558
2025-12-14 | 18.7682 | 22.2483 | 495.653 | 16.2615 | 5.2532 | 1592.5562 | 1817.1169
2025-12-15 | 20.4129 | 23.8344 | 488.2736 | 17.4488 | 5.9101 | 1605.4902 | 1817.9149
2025-12-16 | 19.6514 | 23.2324 | 489.942 | 20.005 | 7.4926 | 1645.1161 | 1837.2632
2025-12-17 | 19.4051 | 23.0413 | 485.9367 | 20.7053 | 7.5292 | 1645.3766 | 1816.2604
2025-12-18 | 19.1728 | 22.9712 | 481.7509 | 20.8984 | 7.1739 | 1640.3725 | 1848.6715
2025-12-19 | 19.1144 | 22.9621 | 474.5637 | 20.656 | 6.1611 | 1607.9027 | 1826.8924
2025-12-20 | 19.3678 | 23.1336 | 473.0184 | 19.4247 | 5.7194 | 1653.6833 | 1863.9079
2025-12-21 | 18.5628 | 22.6322 | 471.1514 | 19.8126 | 5.5049 | 1640.521 | 1895.657
2025-12-22 | 18.8775 | 22.8668 | 470.5147 | 19.7171 | 5.2898 | 1609.7258 | 1834.2644
2025-12-23 | 19.2649 | 22.932 | 473.853 | 19.2065 | 5.7316 | 1624.2332 | 1841.4201
2025-12-24 | 20.0541 | 23.3761 | 479.3063 | 17.704 | 5.9159 | 1669.1456 | 1851.7225
2025-12-25 | 20.2358 | 23.8779 | 475.1158 | 16.9539 | 4.9614 | 1664.5686 | 1809.3622
2025-12-26 | 19.8042 | 23.5957 | 469.6089 | 18.3092 | 4.8957 | 1640.4844 | 1831.694
2025-12-27 | 20.5982 | 24.3774 | 468.275 | 20.6878 | 6.7806 | 1620.036 | 1823.9468
2025-12-28 | 19.7149 | 23.7224 | 463.5529 | 20.8626 | 6.6007 | 1624.878 | 1820.3222
2025-12-29 | 18.8636 | 23.0169 | 457.4737 | 21.3342 | 6.509 | 1656.1539 | 1864.3472
2025-12-30 | 19.2267 | 23.2019 | 455.9813 | 20.9193 | 6.3767 | 1653.0842 | 1868.6415
2025-12-31 | 20.069 | 23.8736 | 450.6389 | 19.9775 | 6.3137 | 1640.6627 | 1820.407
2026-01-01 | 19.8766 | 23.7424 | 440.2137 | 19.5921 | 6.2912 | 1658.6709 | 1906.7598
2026-01-02 | 19.1018 | 23.0263 | 437.7439 | 19.2864 | 6.2806 | 1653.0082 | 1939.2496
2026-01-03 | 18.7785 | 22.5834 | 439.3806 | 19.0238 | 6.2733 | 1639.3883 | 1899.1258
2026-01-04 | 19.5415 | 23.3863 | 441.556 | 19.9258 | 6.2796 | 1624.5335 | 1851.4025
2026-01-05 | 19.7986 | 23.8263 | 443.9896 | 20.6749 | 6.1879 | 1639.6515 | 1819.6599
2026-01-06 | 19.5652 | 23.5641 | 444.1608 | 20.5553 | 6.1457 | 1654.1172 | 1873.9891
2026-01-07 | 19.6474 | 23.6384 | 444.9202 | 19.7394 | 6.1331 | 1646.8317 | 1925.7564
2026-01-08 | 19.7156 | 23.7268 | 445.6468 | 20.29 | 6.0862 | 1643.1783 | 1849.6999
2026-01-09 | 18.4374 | 22.4844 | 447.1214 | 19.6232 | 5.6228 | 1646.1528 | 1954.0172
2026-01-10 | 18.5125 | 22.5159 | 449.9928 | 19.4165 | 5.0795 | 1650.5345 | 1931.7218
2026-01-11 | 19.252 | 23.2457 | 452.8117 | 18.6258 | 5.0368 | 1649.2517 | 1837.6983
2026-01-12 | 19.5643 | 23.5816 | 457.1984 | 19.7998 | 4.9774 | 1629.745 | 1832.2895
2026-01-13 | 19.2597 | 23.2542 | 460.727 | 19.2434 | 4.509 | 1637.845 | 1811.2135
2026-01-14 | 18.9424 | 22.765 | 467.566 | 19.378 | 4.876 | 1649.5571 | 1757.4458
2026-01-15 | 19.7393 | 23.5012 | 476.1145 | 19.3088 | 5.0686 | 1655.0303 | 1755.4295
2026-01-16 | 19.8497 | 23.7187 | 486.9866 | 20.0398 | 4.8555 | 1653.2103 | 1829.8755
2026-01-17 | 19.4242 | 23.2464 | 498.4915 | 19.3117 | 4.7805 | 1649.4283 | 1809.8727
2026-01-18 | 19.109 | 22.6592 | 507.5495 | 17.7829 | 4.8924 | 1644.9598 | 1805.7015
2026-01-19 | 19.197 | 22.9263 | 509.7081 | 17.7909 | 4.6339 | 1641.7497 | 1810.5346
2026-01-20 | 19.612 | 23.422 | 514.1328 | 19.1224 | 4.9905 | 1644.3901 | 1888.6112
2026-01-21 | 19.2609 | 23.0978 | 524.4222 | 19.09 | 5.1925 | 1619.1922 | 1812.1216
2026-01-22 | 19.8067 | 23.4311 | 533.4651 | 18.3392 | 5.0664 | 1649.5506 | 1786.6227
2026-01-23 | 20.7151 | 24.355 | 540.212 | 17.3999 | 4.8683 | 1658.399 | 1805.0241
2026-01-24 | 20.6654 | 24.3759 | 545.6772 | 17.3624 | 5.1823 | 1659.0625 | 1806.0921
2026-01-25 | 20.0711 | 23.7885 | 551.6189 | 17.7856 | 5.2691 | 1652.9573 | 1807.8845
2026-01-26 | 19.7845 | 23.3495 | 555.0627 | 18.2021 | 6.3025 | 1650.2477 | 1799.1966
2026-01-27 | 20.2656 | 23.8142 | 556.8591 | 20.3446 | 8.1606 | 1648.3965 | 1805.8466
2026-01-28 | 20.3627 | 23.8628 | 558.0927 | 18.3876 | 5.1121 | 1629.4981 | 1825.6155
2026-01-29 | 19.5861 | 23.134 | 558.2682 | 20.3378 | 6.7996 | 1614.8604 | 1819.1287
2026-01-30 | 19.4548 | 23.1976 | 560.2218 | 26.4419 | 12.7148 | 1603.8078 | 1819.4178
2026-01-31 | 19.4931 | 23.2389 | 559.9844 | 28.0141 | 13.5021 | 1602.7573 | 1808.9093
2026-02-01 | 19.5751 | 23.2819 | 558.662 | 27.4824 | 13.1045 | 1672.356 | 1811.2108
2026-02-02 | 19.4674 | 23.1372 | 558.5396 | 28.2891 | 14.8566 | 1635.902 | 1816.3807
2026-02-03 | 18.9384 | 22.6785 | 558.5977 | 30.7952 | 17.8717 | 1623.5958 | 1812.9783
2026-02-04 | 18.4173 | 21.8651 | 558.6927 | 31.1657 | 17.8286 | 1645.5143 | 1828.252
2026-02-05 | 19.6236 | 23.1942 | 557.8542 | 32.3261 | 17.5123 | 1656.0034 | 1784.3528
2026-02-06 | 18.8803 | 22.6838 | 558.1743 | 33.1378 | 16.4741 | 1649.5297 | 1867.6666
2026-02-07 | 19.1178 | 22.7763 | 560.0632 | 32.2505 | 16.1501 | 1632.3927 | 1842.1048
2026-02-08 | 19.5306 | 23.2408 | 557.205 | 30.9839 | 14.7648 | 1626.9998 | 1820.4353
2026-02-09 | 19.7042 | 23.1243 | 553.1382 | 27.6211 | 16.1522 | 1615.6305 | 1810.977
2026-02-10 | 19.3121 | 23.0071 | 555.1207 | 23.3021 | 10.9407 | 1646.0919 | 1869.9511
2026-02-11 | 19.4296 | 23.1173 | 556.1589 | 21.4532 | 8.139 | 1649.6254 | 1927.5716
2026-02-12 | 19.378 | 22.9703 | 555.4152 | 20.8563 | 7.498 | 1647.0725 | 1926.4906
2026-02-13 | 19.6199 | 23.2799 | 554.9179 | 22.0896 | 7.4881 | 1623.6789 | 1841.8901
2026-02-14 | 19.1705 | 23.046 | 556.6076 | 23.235 | 7.6716 | 1631.927 | 1813.8442
2026-02-15 | 19.3514 | 23.17 | 558.1456 | 22.114 | 6.5962 | 1641.7845 | 1822.7261
2026-02-16 | 18.6626 | 21.9181 | 558.624 | 18.9893 | 6.7547 | 1623.5613 | 1809.553
2026-02-17 | 18.4004 | 21.3309 | 559.5906 | 14.665 | 3.9273 | 1600.2234 | 1795.8843
2026-02-18 | 19.5004 | 22.59 | 561.0071 | 14.4579 | 3.7319 | 1639.5066 | 1855.3639
2026-02-19 | 19.3377 | 23.3079 | 563.5598 | 18.2636 | 4.0209 | 1649.2718 | 1911.7646
2026-02-20 | 19.0916 | 22.9636 | 564.6182 | 19.8851 | 6.3662 | 1640.44 | 1856.8888
2026-02-21 | 18.3077 | 22.5571 | 566.7859 | 20.2246 | 6.2076 | 1639.3244 | 1815.0678
2026-02-22 | 18.4337 | 22.5451 | 568.3402 | 18.0265 | 5.3534 | 1646.6256 | 1887.3261
2026-02-23 | 18.5518 | 22.3309 | 567.5356 | 21.6823 | 6.2899 | 1643.5464 | 1919.8583
2026-02-24 | 18.4643 | 22.2497 | 566.9887 | 19.0881 | 5.6143 | 1641.2357 | 1923.4863
2026-02-25 | 19.0362 | 22.8569 | 568.0133 | 16.5183 | 3.1455 | 1647.3016 | 1866.0461
2026-02-26 | 19.2886 | 23.2296 | 569.4202 | 17.6147 | 3.4738 | 1645.4176 | 1868.24
2026-02-27 | 18.8848 | 22.7421 | 569.9253 | 17.7044 | 3.976 | 1646.4219 | 1953.7508
2026-02-28 | 18.7468 | 22.6356 | 570.1929 | 17.8788 | 4.2044 | 1613.5018 | 1908.9567
2026-03-01 | 19.2038 | 23.2132 | 569.1878 | 18.3339 | 4.0367 | 1623.0302 | 1818.0803
2026-03-02 | 18.7829 | 22.861 | 567.5246 | 19.5283 | 4.6657 | 1628.0725 | 1803.5005
2026-03-03 | 19.0101 | 23.0221 | 569.0405 | 20.9068 | 6.0843 | 1600.6633 | 1802.8096
2026-03-04 | 19.085 | 22.8975 | 569.6157 | 18.6165 | 5.1069 | 1622.1849 | 1824.6195
2026-03-05 | 18.5074 | 22.4543 | 569.3959 | 19.7289 | 5.8381 | 1644.692 | 1818.3267
2026-03-06 | 18.4511 | 22.3863 | 570.2698 | 19.1916 | 6.6468 | 1632.4061 | 1835.7958
2026-03-07 | 18.2516 | 22.1356 | 572.0109 | 21.9732 | 9.9108 | 1641.2987 | 1911.3681
2026-03-08 | 18.0997 | 21.4795 | 572.8813 | 21.8967 | 8.6071 | 1639.4631 | 1846.3895
2026-03-09 | 19.3763 | 22.6022 | 575.0601 | 21.0825 | 10.4328 | 1655.6267 | 1897.594
2026-03-10 | 19.6368 | 23.2071 | 575.8256 | 23.1253 | 11.9028 | 1649.8279 | 1896.1486
2026-03-11 | 18.5426 | 22.5233 | 575.3903 | 21.9745 | 8.5536 | 1630.181 | 1878.2483
2026-03-12 | 18.8971 | 23.0876 | 576.8198 | 26.605 | 11.7163 | 1629.7315 | 1855.5472
2026-03-13 | 18.8886 | 23.1141 | 579.9892 | 25.175 | 9.2004 | 1619.6263 | 1926.4628
2026-03-14 | 18.5598 | 22.7888 | 582.604 | 25.7821 | 9.6045 | 1623.6418 | 1960.3884
2026-03-15 | 18.7823 | 23.134 | 583.196 | 26.0632 | 8.3884 | 1639.7199 | 1961.1773
2026-03-16 | 18.4443 | 22.7133 | 583.034 | 26.4691 | 9.7194 | 1641.0321 | 1961.6761
2026-03-17 | 18.2951 | 22.5877 | 584.1741 | 27.1885 | 9.5381 | 1639.9864 | 1960.7396
2026-03-18 | 18.4788 | 22.9492 | 584.0194 | 26.4184 | 7.9997 | 1642.8434 | 1956.0612
2026-03-19 | 18.8512 | 23.4331 | 579.8583 | 28.2249 | 9.7773 | 1650.2443 | 1957.2251
2026-03-20 | 17.9719 | 22.2819 | 579.6749 | 26.381 | 9.5244 | 1642.4759 | 1958.7334
2026-03-21 | 18.2566 | 22.4237 | 582.1266 | 25.4079 | 9.405 | 1642.5244 | 1954.9942
2026-03-22 | 18.3369 | 22.595 | 586.4085 | 24.8348 | 7.9038 | 1638.6246 | 1957.6865
2026-03-23 | 18.6542 | 22.9075 | 587.0742 | 28.3975 | 11.0147 | 1642.4214 | 1959.7973
2026-03-24 | 18.6775 | 22.9325 | 589.8881 | 32.3964 | 14.2116 | 1641.5443 | 1956.5424
2026-03-25 | 17.9163 | 22.2313 | 591.8306 | 29.6215 | 12.069 | 1640.7173 | 1959.6735
2026-03-26 | 18.1226 | 22.3172 | 591.6969 | 31.4098 | 14.5279 | 1639.4693 | 1953.5172
2026-03-27 | 18.5454 | 22.706 | 593.0086 | 32.8443 | 14.4097 | 1633.586 | 1876.6019
2026-03-28 | 18.6626 | 22.8353 | 596.8652 | 33.7152 | 14.861 | 1636.1554 | 1910.1068
2026-03-29 | 18.2666 | 22.351 | 599.704 | 31.6578 | 13.95 | 1634.4786 | 1942.8684
2026-03-30 | 18.2163 | 22.3221 | 598.6314 | 32.9495 | 14.31 | 1629.8706 | 1944.171
2026-03-31 | 18.4175 | 22.5034 | 600.7559 | 27.8863 | 19.0529 | 1627.7433 | 1944.9359
2026-04-01 | 18.5244 | 22.6759 | 602.693 | 45.4229 | 16.2668 | 1602.3818 | 1896.5332
2026-04-02 | 18.9442 | 23.2032 | 599.1835 | 33.978 | 14.3607 | 1652.4277 | 1932.7318
2026-04-03 | 17.973 | 22.4556 | 597.4611 | 32.851 | 14.8888 | 1644.3317 | 1930.0884
2026-04-04 | 18.0281 | 22.4942 | 595.5424 | 29.2077 | 14.3541 | 1649.1353 | 1820.2222
2026-04-05 | 18.0726 | 22.3753 | 592.5695 | 30.0701 | 12.1971 | 1644.1623 | 1903.425
2026-04-06 | 18.1712 | 22.3228 | 590.3857 | 30.1656 | 14.2355 | 1645.4506 | 1818.4222
2026-04-07 | 18.3908 | 22.5932 | 587.8647 | 30.0097 | 11.7649 | 1642.2744 | 1841.4857
2026-04-08 | 18.3257 | 22.7578 | 585.018 | 28.6664 | 9.2254 | 1639.9223 | 1856.8653
2026-04-09 | 18.1797 | 22.7503 | 595.9032 | 31.2652 | 11.8644 | 1633.6342 | 1821.8846
2026-04-10 | 17.358 | 21.4849 | 592.882 | 27.3122 | 10.6236 | 1614.6852 | 1789.725
2026-04-11 | 18.0212 | 22.129 | 577.9207 | 27.0058 | 9.574 | 1614.9231 | 1785.4788
2026-04-12 | 18.4806 | 22.5182 | 550.2684 | 24.4066 | 6.2327 | 1631.5153 | 1824.4172
2026-04-13 | 19.116 | 23.1564 | 493.0617 | 29.5031 | 9.8484 | 1630.7799 | 1819.2702
2026-04-14 | 19.2926 | 23.4497 | 476.4994 | 30.2264 | 8.5343 | 1645.9978 | 1881.887
2026-04-15 | 18.4233 | 22.6432 | 473.6748 | 29.4986 | 8.1852 | 1658.5835 | 1935.9502
2026-04-16 | 18.039 | 21.7456 | 491.7692 | 22.5799 | 5.5136 | 1658.3741 | 1930.8964
2026-04-17 | 18.1066 | 21.5334 | 499.2927 | 22.2616 | 6.649 | 1655.7313 | 1933.2514
2026-04-18 | 18.4764 | 21.9154 | 501.9199 | 21.4959 | 5.7273 | 1657.501 | 1923.337
2026-04-19 | 18.499 | 21.8766 | 502.439 | 19.8672 | 5.3602 | 1653.6355 | 1822.5231
2026-04-20 | 17.8768 | 19.903 | 494.6183 | 14.6249 | 5.3795 | 1638.3719 | 1826.9898
2026-04-21 | 17.4599 | 18.2321 | 487.3992 | 9.4194 | 5.8102 | 1604.8565 | 1761.7209
2026-04-22 | 14.6386 | 14.8241 | 481.7435 | 8.5339 | 4.3018 | 1444.7111 | 1605.5939
2026-04-23 | 14.1826 | 14.3877 | 475.3872 | 11.7293 | 3.6249 | 1278.95 | 1407.5203
2026-04-24 | 16.2435 | 16.6633 | 473.1445 | 11.6781 | 2.6545 | 1073.7306 | 1147.0273
2026-04-25 | 12.1452 | 12.6634 | 471.724 | 16.9895 | 2.3058 | 925.6059 | 981.5355
2026-04-26 | 12.5443 | 13.1122 | 465.7429 | 16.1624 | 2.1513 | 738.6282 | 889.5084
2026-04-27 | 15.818 | 16.3016 | 457.7986 | 27.4751 | 1.8866 | 751.2485 | 806.7437
2026-04-28 | 11.2196 | 11.4292 | 453.1085 | 12.7066 | 0.045123 | 682.6577 | 838.4162
2026-04-29 | 12.417 | 12.6707 | 457.291 | 23.7321 | 0.016487 | 774.4824 | 867.9917
2026-04-30 | 13.7181 | 13.962 | 457.045 | 4.6526 | 0.20636 | 807.0213 | 890.5792
2026-05-01 | 14.5126 | 14.9019 | 460.5723 | 0.52156 | 0.59481 | 744.0785 | 829.8014
2026-05-02 | 15.7249 | 16.3312 | 462.5191 | 13.308 | 0.50299 | 812.188 | 915.3869
2026-05-03 | 19.5821 | 20.2715 | 461.8564 | 0.0013538 | 0.49395 | 861.5985 | 969.7767
2026-05-04 | 20.8615 | 21.3797 | 464.4659 | 0.2081 | 0.46253 | 863.7113 | 962.1179
2026-05-05 | 24.0242 | 24.5951 | 464.2532 | 3.4056 | 0.44828 | 867.2625 | 939.2461
2026-05-06 | 25.0101 | 25.7268 | 459.375 | 3.0258 | 0.30231 | 903.7953 | 970.5495
2026-05-07 | 22.8405 | 23.5414 | 453.4521 | 18.6196 | 0.20922 | 1091.1878 | 1219.0012
2026-05-08 | 22.3257 | 22.8444 | 450.7232 | 5.7617 | 0.18849 | 1301.8089 | 1478.0331
2026-05-09 | 15.3198 | 15.8203 | 449.5824 | 6.483 | 0.17952 | 1308.0114 | 1501.4457
2026-05-10 | 12.75 | 13.108 | 451.8635 | 5.8049 | 0.19787 | 1358.8555 | 1552.5083
2026-05-11 | 17.0088 | 17.8168 | 453.8675 | 4.9528 | 0.217 | 1365.1445 | 1613.7274
2026-05-12 | 20.2527 | 21.7809 | 453.6013 | 9.1565 | 0.20882 | 1397.6913 | 1532.6244
2026-05-13 | 20.1625 | 22.152 | 449.0437 | 10.3189 | 0.18886 | 1449.804 | 1637.3903
2026-05-14 | 19.4943 | 21.2262 | 440.2863 | 16.4922 | 0.16814 | 1537.9581 | 1786.3212
2026-05-15 | 20.7834 | 22.9903 | 432.3785 | 23.6207 | 0.16557 | 1653.7002 | 1897.1547
2026-05-16 | 20.965 | 22.9954 | 422.8869 | 20.3231 | 0.090346 | 1650.2646 | 1893.7382
2026-05-17 | 20.6053 | 22.8369 | 419.7474 | 23.5182 | -0.0054097 | 1650.5499 | 1899.5134
2026-05-18 | 19.6346 | 22.4223 | 428.0624 | 33.1565 | 0.14937 | 1670.0753 | 1940.3449
2026-05-19 | 19.1514 | 21.6073 | 423.8143 | 20.461 | 0.10372 | 1678.6445 | 1962.8925
2026-05-20 | 19.0919 | 21.5156 | 402.2619 | 20.2394 | 0.1177 | 1683.3989 | 1976.0533
2026-05-21 | 18.5265 | 20.7036 | 386.8103 | 14.6698 | 0.20441 | 1686.4768 | 1982.6804
2026-05-22 | 19.542 | 21.9346 | 376.4662 | 17.2848 | 0.46553 | 1689.7556 | 1972.9781
2026-05-23 | 20.9909 | 23.755 | 369.9634 | 20.077 | 0.90561 | 1699.7419 | 1957.5194
2026-05-24 | 20.9793 | 23.7937 | 357.5576 | 19.8507 | 0.81922 | 1717.6489 | 1975.5868
2026-05-25 | 22.2453 | 25.7186 | 346.5203 | 22.7129 | 0.91192 | 1724.037 | 1959.4796
2026-05-26 | 21.7472 | 25.4544 | 332.9942 | 21.9407 | 0.89534 | 1726.2504 | 1977.6078
2026-05-27 | 20.4178 | 24.1155 | 320.0969 | 18.2512 | 1.0827 | 1698.3646 | 1953.3392
2026-05-28 | 19.524 | 23.4278 | 314.2118 | 19.8479 | 1.6064 | 1687.7927 | 1944.7059
2026-05-29 | 19.4964 | 23.4357 | 314.7804 | 20.5349 | 4.0328 | 1678.8508 | 1951.2459
2026-05-30 | 19.6282 | 23.7428 | 313.1323 | 24.1532 | 4.0056 | 1695.0306 | 1911.0589
2026-05-31 | 19.5885 | 23.7572 | 309.8486 | 22.3027 | 3.3487 | 1699.1631 | 1977.684
2026-06-01 | 20.4335 | 24.7822 | 296.1126 | 24.8122 | 3.4272 | 1698.0754 | 1960.5044
2026-06-02 | 20.0896 | 24.3224 | 289.2936 | 21.5809 | 2.8081 | 1682.8483 | 1892.2627
2026-06-03 | 19.7111 | 24.0178 | 295.4124 | 21.935 | 3.2007 | 1661.395 | 1853.6779
2026-06-04 | 19.6249 | 24.2485 | 292.8286 | 27.5402 | 3.5505 | 1654.6187 | 1887.1693
2026-06-05 | 19.5784 | 24.1634 | 292.6074 | 24.6487 | 2.801 | 1652.6322 | 1877.5758
2026-06-06 | 19.5524 | 24.0241 | 294.9728 | 23.0095 | 3.5926 | 1627.732 | 1841.0906
2026-06-07 | 19.5675 | 24.2492 | 301.2685 | 26.4012 | 2.9232 | 1642.3567 | 1851.3869
2026-06-08 | 19.8366 | 24.6822 | 306.5839 | 31.3777 | 3.6954 | 1647.3559 | 1880.6049
2026-06-09 | 19.6487 | 24.461 | 311.6865 | 29.8679 | 2.9087 | 1649.1895 | 1925.0525
2026-06-10 | 19.6366 | 24.4793 | 312.6085 | 31.5892 | 3.3623 | 1637.2391 | 1940.9926
2026-06-11 | 19.7502 | 23.9557 | 308.652 | 29.8306 | 4.2093 | 1644.8372 | 1920.8328
2026-06-12 | 19.6134 | 22.6748 | 307.0681 | 20.0045 | 3.6154 | 1639.0236 | 1807.4261
2026-06-13 | 19.5831 | 21.737 | 312.047 | 17.978 | 4.0667 | 1631.1017 | 1848.3397
2026-06-14 | 19.7402 | 22.1024 | 309.3347 | 19.961 | 3.2838 | 1639.9603 | 1855.9705
2026-06-15 | 20.0129 | 22.3414 | 306.9039 | 18.6781 | 4.0841 | 1643.3788 | 1841.939
2026-06-16 | 19.7831 | 22.2407 | 307.1491 | 20.5 | 3.8958 | 1646.8272 | 1858.183
2026-06-17 | 19.4422 | 21.9246 | 307.9084 | 19.0034 | 3.9241 | 1651.9457 | 1878.8557
2026-06-18 | 19.4374 | 21.781 | 318.5962 | 17.8965 | 4.0776 | 1635.6707 | 1853.8695
2026-06-19 | 19.3673 | 21.8061 | 326.8058 | 19.3787 | 3.9884 | 1658.8829 | 1868.1282
2026-06-20 | 19.746 | 22.051 | 333.6352 | 15.8417 | 3.5626 | 1637.4809 | 1858.9727
2026-06-21 | 19.823 | 22.2443 | 333.5982 | 20.5667 | 2.7293 | 1646.078 | 1854.3733
2026-06-22 | 22.6165 | 24.7105 | 324.5776 | 14.6708 | 3.8662 | 1651.4778 | 1831.7367
2026-06-23 | 24.2563 | 26.7869 | 312.0262 | 16.6922 | 4.0529 | 1653.9673 | 1843.1814
2026-06-24 | 25.217 | 28.2334 | 307.8453 | 20.431 | 3.2674 | 1651.2567 | 1846.7316
2026-06-25 | 25.004 | 28.2224 | 301.9515 | 22.845 | 3.4054 | 1670.7147 | 1821.6403
2026-06-26 | 25.2589 | 28.46 | 309.1847 | 20.2681 | 3.5334 | 1681.2804 | 1822.2237
2026-06-27 | 23.7866 | 27.1486 | 314.2009 | 20.0136 | 3.8161 | 1642.9155 | 1837.5746
2026-06-28 | 22.5853 | 26.4658 | 306.7071 | 20.874 | 2.9449 | 1670.9974 | 1853.1663
2026-06-29 | 23.9746 | 27.9055 | 304.334 | 22.5891 | 3.3541 | 1677.0421 | 1849.7657
2026-06-30 | 25.8943 | 29.2997 | 304.7465 | 18.4549 | 2.0872 | 1617.7041 | 1850.8598
2026-07-01 | 28.0316 | 31.5676 | 312.7902 | 19.2729 | 0.029506 | 1654.3935 | 1811.497
2026-07-02 | 27.7036 | 31.47 | 320.11 | 22.7149 | 0.0060811 | 1659.6815 | 1806.0065
2026-07-03 | 22.0256 | 26.3167 | 332.131 | 28.4996 | 1.098 | 1655.5525 | 1902.3551
2026-07-04 | 22.2115 | 26.475 | 339.9107 | 26.5391 | 3.0264 | 1650.1811 | 1844.1615
2026-07-05 | 22.9409 | 27.3541 | 336.4185 | 28.6423 | 2.3583 | 1651.8346 | 1819.13
2026-07-06 | 23.5558 | 27.7518 | 319.3328 | 27.7255 | 3.113 | 1647.5604 | 1805.1253
2026-07-07 | 21.4728 | 25.9357 | 303.0967 | 30.1544 | 3.1484 | 1651.8077 | 1857.1021
2026-07-08 | 21.3672 | 26.2011 | 299.6514 | 29.1057 | 1.165 | 1659.3787 | 1900.4309
2026-07-09 | 22.3613 | 27.1613 | 295.8409 | 27.1863 | -0.014439 | 1652.4259 | 1884.3485
2026-07-10 | 22.0606 | 26.6975 | 294.6031 | 22.9561 | -0.014985 | 1621.7461 | 1920.0308
2026-07-11 | 22.5842 | 27.2272 | 300.1362 | 22.4828 | -0.01464 | 1613.1393 | 1891.5379
2026-07-12 | 22.7636 | 27.4398 | 307.3406 | 22.4497 | -0.014757 | 1622.7421 | 1898.0568
2026-07-13 | 21.744 | 26.5723 | 294.4187 | 25.9142 | -0.015564 | 1614.567 | 1899.6883
2026-07-14 | 20.8341 | 25.565 | 280.715 | 24.0554 | -0.015275 | 1615.27 | 1898.9794
2026-07-15 | 20.8488 | 25.5412 | 286.0783 | 21.2959 | -0.01594 | 1619.554 | 1928.7354
2026-07-16 | 21.0715 | 25.8034 | 293.3893 | 23.3332 | -0.016178 | 1642.9078 | 1867.7221
2026-07-17 | 20.5565 | 24.8798 | 292.4908 | 19.5187 | 0.50009 | 1609.6108 | 1812.0574
2026-07-18 | 20.2946 | 24.7506 | 298.924 | 21.2652 | 2.854 | 1601.5478 | 1798.1114
2026-07-19 | 22.15 | 26.7229 | 301.7142 | 23.8635 | 2.1162 | 1633.7208 | 1817.6121
2026-07-20 | 22.7811 | 27.518 | 338.8499 | 30.8272 | 4.2781 | 1651.874 | 1809.3489
2026-07-21 | 23.0014 | 27.4724 | 328.7255 | 34.283 | 8.2698 | 1659.6749 | 1815.4238
2026-07-22 | 23.7945 | 28.5697 | 299.7457 | 34.4054 | 6.9255 | 1646.7482 | 1731.1195
2026-07-23 | 23.3212 | 28.0196 | 296.288 | 39.1255 | 13.0324 | 1639.5393 | 1740.2293
2026-07-24 | 24.247 | 28.9559 | 304.2718 | 39.4918 | 12.2257 | 1630.2224 | 1703.4512
2026-07-25 | 24.7488 | 29.4831 | 308.089 | 40.2901 | 12.8284 | 1630.951 | 1713.9637
2026-07-26 | 25.6343 | 30.4579 | 305.4541 | 42.8125 | 13.2493 | 1628.4588 | 1728.3137
2026-07-27 | 25.4356 | 30.2751 | 307.5038 | 42.491 | 12.1094 | 1628.4578 | 1729.3863
2026-07-28 | 22.895 | 26.5136 | 309.8022 | 32.718 | 10.2975 | 1622.0604 | 1762.6001
2026-07-29 | 21.5582 | 25.0668 | 310.5797 | 27.0903 | 5.4814 | 1620.1859 | 1781.3162
2026-07-30 | 20.6747 | 24.2236 | 308.7791 | 29.035 | 10.1607 | 1583.2266 | 1737.2252
2026-07-31 | 18.8997 | 22.3659 | 310.4872 | 24.5439 | 7.1315 | 1570.3141 | 1756.3776
2026-08-01 | 20.2529 | 23.7166 | 318.9815 | 27.6947 | 6.1615 | 1575.318 | 1765.9873
2026-08-02 | 20.6948 | 24.2009 | 325.5649 | 24.7272 | 6.8637 | 1570.6654 | 1773.1236
2026-08-03 | 20.8537 | 23.6173 | 328.7597 | 117.5293 | 83.2709 | 1572.304 | 1730.6382
2026-08-04 | 19.0534 | 21.69 | 330.7568 | 17.6159 | 2.8214 | 1575.9593 | 1740.5044
2026-08-05 | 19.485 | 22.9329 | 331.8293 | 22.705 | 2.1514 | 1588.1922 | 1820.4195
2026-08-06 | 19.8924 | 23.5543 | 332.981 | 26.9135 | 5.7525 | 1589.7405 | 1826.5102
2026-08-07 | 21.0151 | 24.6855 | 322.992 | 30.6912 | 6.1348 | 1594.6748 | 1814.0724
2026-08-08 | 22.1525 | 25.6676 | 316.2074 | 21.2519 | 1.7917 | 1588.5026 | 1737.148
2026-08-09 | 21.4986 | 25.0192 | 312.6352 | 20.4754 | 3.5494 | 1568.4981 | 1737.5824
2026-08-10 | 19.4955 | 22.994 | 307.7084 | 20.8918 | 3.4149 | 1556.751 | 1743.6925
2026-08-11 | 19.6386 | 23.1539 | 309.0465 | 21.7849 | 3.5073 | 1572.1352 | 1748.8203
2026-08-12 | 19.7424 | 23.3299 | 313.6618 | 22.4132 | 2.1778 | 1565.2605 | 1817.4836
2026-08-13 | 19.4421 | 23.0252 | 323.2169 | 21.1566 | 3.5697 | 1543.6409 | 1730.4945
2026-08-14 | 18.5211 | 21.9274 | 315.6159 | 19.1582 | 4.5744 | 1566.1788 | 1753.6767
2026-08-15 | 18.981 | 22.2806 | 297.3648 | 16.9164 | 3.8652 | 1555.3211 | 1731.6865
2026-08-16 | 18.4354 | 21.9316 | 295.1782 | 15.9132 | 2.2996 | 1541.3567 | 1747.1853
2026-08-17
2026-08-18
2026-08-19
2026-08-20
2026-08-21
2026-08-22
2026-08-23
2026-08-24
2026-08-25
2026-08-26
2026-08-27
2026-08-28
2026-08-29
2026-08-30
2026-08-31
2026-09-01
2026-09-02
2026-09-03
2026-09-04
2026-09-05

## abbr
Water balance
Water in system | mu | Makeup
Water out system | bd | Blowdown | bd_c | controlled blowdown |  |  | t_cold | temperature of recirculation water after cooling tower)
|  |  | bd_u | uncontrolled blowdown (leakages) |  |  | t_hot | temperature of recirculation water before cooling tower
|  |  | drift | drift (drops of water from the cooling tower)
| evap | Evaporation | Water loss in vapour form
Circulation | rr | Recirculation rate | water flow thru system
General equations
mu = evap + bd
evap = K(air temperature, humidity, pressure) * (t_hot - t_cold)*rr
| cycles = mu/bd = mu/(mu - evap) |  |  | Number of cycles - how water is concentrated in cooling tower system
Salt balance
salt_in = salt_out + scale_rate
| mu*c_mu = bd * c_rr*Retention |  |  | Salt comes with makeup and leave system with blowdown. Retention is a ratio of none-settled salts.
For example. SiO2 usually doesn't form scale in system, retention can be ~ 100%
CaCO3 usually forms scale = retention < 90%
ec_mu | conductivity of mu (from sensor) |  |  | IF RETENTION is 100%
rdate | Record date |  |  | mu_c*mu = bd*c_rr
mu | Flow rate of makeup water |  |  | cycles = mu/bd = c_rr/c_mu |  | Another way to calculate number of cycles - by concentration or tds
bd | Flow rate of blowdown water |  |  | PROBLEM! | If retention < 100%, for tds/ec retention will be also less 100% and we have lower number of cycles than in reality